The UV aerosol extinction Coefficients retrieval using the Ground-based Ozone Lidar

Liqiao Lei1,2, Timothy A. Berkoff1, and Guillaume P. Gronoff1,3, William Carrion1,3

1NASA Langley Research Center

2Universities Space Research Association

3Science Systems and Applications, Inc.

Abstract:

NASA Langley Mobile Ozone Lidar (LMOL) has capability to measure the O3 concentration from 0.1 to 8 km. A new method is proposed to retrieve the aerosol backscatter and extinction coefficients from the LMOL attenuated backscatter signals. The LMOL attenuated backscatter data are corrected by the O3 concentration determined by LMOL system. The aerosol extinction coefficients are retrieved by using Fernald-type method. The retrieved aerosol extinction coefficient profiles are compared with the coincident aerosol extinction coefficient profiles provided by overflights of the airborne High Altitude Lidar Observatory (HALO) system during the 2018 LISTOS campaign. Results show the new method has the capability to retrieve aerosol extinction coefficients from 0.1-8 km at night and 0.1-4 km during the day for 5 minute temporal averaging. The profile time series of the retrieved aerosol extinction coefficient are also compared with co-located ceilometer data, showing general agreement with aerosol features and dynamics. The impact of lidar extinction to backscatter ratios on the retrievals is also presented. This new method extends LMOL’s ability to quantitatively determine the vertical distribution of aerosol optical properties. This is expected to contribute to further understanding of the relationship between the ozone and aerosol in the wildfire emissions transport and impact on local air quality during the LISTOS campaign.