SUPPLEMENTARY MATERIAL

A Sensitive Quantitative Analysis of Abiotically Synthesized Short Homopeptides using Ultraperformance Liquid Chromatography and Time-of-Flight Mass Spectrometry

Eric T. Parker a, Megha Karki b, 1, Daniel P. Glavin a, Jason P. Dworkin a, **, Ramanarayanan Krishnamurthy b,*

aNASA Goddard Space Flight Center, Solar System Exploration Division, 8800 Greenbelt Road, Greenbelt, MD 20771, U.S.A.;

bDepartment of Chemistry, Scripps Research, 10550 North Torrey Pines Road, La Jolla, CA 92037, U.S.A.

1Present Address: Singular Genomics, 10931 North Torrey Pines Road Suite #100, La Jolla, CA 92037, U.S.A.

Corresponding Author:

*Ramanarayanan Krishnamurthy, Department of Chemistry, Scripps Research, 10550 North 	Torrey Pines Road, La Jolla, CA 92037, U.S.A.; phone: 1-858-784-8520; fax: 1-858-784-	9573; email: rkrishna@scripps.edu

Co-Corresponding Author:

**Jason P. Dworkin, NASA Goddard Space Flight Center, Solar System Exploration Division, 	8800 Greenbelt Road, Greenbelt, MD 20771, U.S.A.; phone: 1-301-286-8631; fax: 1-	301-286-1683; email: jason.p.dworkin@nasa.gov

Supplementary Material

1. Materials and methodsS2

1.1. Chemicals and reagentsS2

1.2. Method developmentS3

1.3. Analytical figures of meritS3

2. Results and discussionS6

2.1. Method developmentS6

2.2. Analytical figures of meritS6

2.3. Room temperature/heating experimentsS8

2.4. Simulated environmental wet-dry cycling experimentsS11

ReferencesS12

FiguresS13

TablesS23

1. Materials and methods

1.1. Chemicals and reagents

Four reagents were used to enable pre-column derivatization of samples and standards. These four reagents were: 1) AccQ·Tag Ultra borate buffer, 2) AccQ·Tag Ultra reagent powder, 3) AccQ·Tag Ultra reagent diluent, and 4) AccQ·Tag derivatization agent. Reagents 1) – 3) were purchased from Waters Corporation. Reagent 4) was prepared by mixing 1 mL of reagent 3) with reagent 2). Once formed, reagent 4) was then vortexed for 10 seconds and heated for 15 minutes on top of a heating block set at 55 °C, until the powder fully dissolved, at which point, reagent 4) was ready for use as the derivatization agent as detailed in §2.2 of the main text.

Four eluents were used during analysis by UPLC-FD/ToF-MS: A) AccQ·Tag A buffer, B) AccQ·Tag B buffer, C) strong wash, and D) weak wash. Eluent A) was prepared by mixing 100 mL of AccQ·Tag Eluent A Concentrate, which was purchased from Waters Corporation, with 900 mL of Millipore ultrapure water. Eluent B) was purchased directly from Waters Corporation. Eluent C) was prepared by mixing 700 mL of HPLC grade acetonitrile with 300 mL of ultrapure water. Eluent D) was prepared by mixing 900 mL of ultrapure water with 100 mL of HPLC grade acetonitrile. Eluents A) and B) were used to perform chromatography, while eluents C) and D) were used to clean the chromatography pump.

A 0.5 M aqueous solution of sodium formate was used for daily calibrations of the ToF-MS, and real-time lock mass corrections were executed using a 200 µg L-1 solution of leucine enkephalin. Both the 0.5 M sodium formate solution and the 200 µg L-1 leucine enkephalin solution were prepared as described elsewhere [S1].

1.2. Method development

Chromatographic separation of target analytes was preceded by pre-column derivatization using the AccQ·Tag derivatization agent. The primary amino group of an amino acid or peptide reacted with the ester carbonyl of the derivatization agent to form a new amide bond (Figure S1), and in doing so, the target analytes were converted into a derivative with fluorescent properties. Target analyte derivatives were subsequently detected by both the FD and the ToF-MS, as detailed in §2.2 of the main text.

1.3. Analytical figures of merit

Following the development of the new analytical technique, an analytical figures of merit experiment was performed for both the FD and the ToF-MS detectors. The purpose of the analytical figures of merit experiments was to assess the quantitative accuracy and precision of the newly developed analytical technique. The analytical figures of merit experiments were performed by constructing calibration curves, produced by performing triplicate analyses of a mixed standard composed of target amino acids and homopeptides. Ten serial dilutions were generated for this experiment to obtain calibration curves across a range of 10 different analyte concentrations: 1.5 nM, 5.0 nM, 15.0 nM, 50.0 nM, 150.0 nM, 500.0 nM, 1.5 mM, 5.0 mM, 15.0 mM, and 45.0 mM.

Analytical figures of merit were obtained by performing linear regression analyses, which were executed by plotting observed standard analyte peak areas vs. known standard analyte concentrations. When doing this, it was determined that the observed analyte peak area standard deviations increased proportionally to known analyte concentrations, demonstrating the heteroscedastic nature of the acquired calibration data. Consequently, a weighted linear regression analysis was implemented to account for heteroscedasticity in the calibration data [S3-S5]. To perform a weighted linear regression, weights (wi) were applied:

|  | wi= si-2insi-2/n | (S1) |
| --- | --- | --- |

In equation (S1), n is the number of standard concentrations that make up the calibration curve and si is the standard deviation of the peak area triplicate measurements. After their application, the weights were used to determine weighted centroid coordinates (xw,yw):

|  | xw= inwixin | (S2) |
| --- | --- | --- |
|  | yw= inwiyin | (S3) |

In equation (S2), xi is the analyte concentration, and in equation (S3), yi is the observed peak area associated with xi. Once obtained, weighted centroid coordinates were used to help calculate the weighted slope (bw):

|  | bw= inwixiyi-nxwywinwixi2-nxw2 | (S4) |
| --- | --- | --- |

and the weighted y-intercept (aw):

|  | aw= yw-bwxw | (S5) |
| --- | --- | --- |

Using the algebraic form of the general equation of a weighted straight line:

|  | yi=aw+bwxi | (S6) |
| --- | --- | --- |

the yi component of the y-residuals (yi- yi) can be calculated using the following equation:

|  | yi= aw+ bwxi | (S7) |
| --- | --- | --- |

when using the analyte concentration (xi), the weighted slope (bw, from equation (S4)), and the weighted y-intercept (aw, from equation (S5)).

Next, the weighted, random error in the y-direction (syxw) was obtained using:

|  | syxw= inwi(yi- yi)2n-2 | (S8) |
| --- | --- | --- |

Finally, limit of detection (LOD) and limit of quantitation (LOQ) values for each analyte, using both detectors, were calculated as 3syxw and 10syxw, respectively. The 3syxw and 10syxw values are an estimation of LOD and LOQ based on observed signal intensities. These LOD and LOQ values were then converted into their respective molar concentrations (xi) by insertion into equation (S6) as yi, along with inserting the calculated values for bw and aw into equation (S6).

The uncertainty estimates of the weighted slope are confidence intervals, which were calculated by executing a two-tailed t-test. First, the weighted standard deviations for the slope, sbw, were calculated as:

|  | sbw=[nsyxw2(n[inwixi2]-[inwixi]2)]12 | (S9) |
| --- | --- | --- |

After the value of sbw was obtained, the confidence interval was calculated as the product of the tabulated t-value at a 95% confidence level (a= 0.05) with n-2 degrees of freedom and the value for sbw.

2. Results and discussion

2.1. Method development

The chromatographic approach developed in this study produced broad peaks that eluted first, followed by narrow, sharp peaks that eluted later. The reason for this observed difference in peak shape is due to the change in eluent composition during the course of the chromatographic run. When the first peaks eluted from the column, the eluent composition is <10% organic mobile phase. The Gly-based species that eluted from the column first eluted more slowly in such a strongly aqueous buffer composition, leading to relatively broad peaks (peaks 1 – 6, Figure 1). The later eluting peaks elute faster due to the greater organic eluent composition (~15%) near the end of the run, causing the sharper appearance of these later peaks.

During chromatographic optimization, an effort was made to increase the sharpness of the Gly-based peaks that eluted first. The organic composition of the eluent was increased at the time the first compounds eluted; however, it was observed that doing so caused later peaks to coelute, thereby compromising the chromatographic resolution of subsequent peaks. As a result, it was determined that the gradient described in §2.2 of the main text, which produced relatively broad peaks that eluted first and sharper peaks that eluted later (Figure 1) was acceptable because under this configuration, the chromatographic resolution of target analytes was largely preserved. A detailed accounting of resultant detection metrics is shown in Table S1.

2.2. Analytical figures of merit

The analytical figures of merit experiments resulted in the determination of the LOD, LOQ, sensitivity, and linear range values of each detector used in the newly developed method, with respect to each individual analyte targeted in this study. Table S2 displays the analytical figures of merit for the FD. The sensitivity of the FD to each analyte was relatively similar, approximately within a factor of 2. The FD coefficients of determination with respect to changes in analyte concentrations were > 0.999 for all target analytes, spanning a range from slightly less than 3 orders of magnitude at the minimum (Gly2), to more than 3 orders of magnitude at the maximum (Ala4). The FD LOD values for all analytes were below 100 nM, with the largest LOD being for Gly2, at 86.50 nM, and the lowest LOD being for Ala4, at 10.01 nM. The FD LOQ values for all analytes were below 500 nM, with the largest LOQ being associated with Glu, at 429.08 nM, and the lowest LOQ being associated with Ala4, at 24.82 nM. Also included in Table S2, are the LOD and LOQ values converted from nM to femtomoles (fmol) on column, after taking into account the injection volume and dilution effects from the derivatization reaction. The FD LOD values, in terms of femtomoles on column, spanned a range of 2.00 fmol – 17.30 fmol. Similarly, the FD LOQ values, in terms of femtomoles on column, spanned a range of 4.96 fmol – 85.82 fmol.

Table S3 displays the analytical figures of merit for the ToF-MS. The sensitivity of the ToF-MS to each analyte was as low as 0.08 nM-1 for Asp4, and as high as 2.52 nM-1 for Ala5. The ToF-MS coefficients of determination with respect to changes in analyte concentrations were > 0.985 for all target analytes, spanning a range from just under 3 orders of magnitude at the minimum (Gly), to more than 4 orders of magnitude at the maximum (Ala3). The ToF-MS LOD values for all analytes were below 50 nM, except for Gly (53.83 nM). The lowest ToF-MS LOD was for Ala3, at 1.75 nM. The ToF-MS LOQ values for most analytes were below 100 nM, except for Gly (280.15 nM), Ala (161.95 nM), and Asp (140.12 nM). The lowest ToF-MS LOQ was for Ala3, at 5.30 nM. Also included in Table S3, are the LOD and LOQ values converted from nM to femtomoles on column, as described above. The ToF-MS LOD, in terms of femtomoles on column, spanned a range of 0.35 fmol – 10.77 fmol. Similarly, the ToF-MS LOQ values, in terms of femtomoles on column, spanned a range of 1.06 fmol – 56.03 fmol.

The analytical figures of merit for the FD (Table S2) and the ToF-MS (Table S3) allow for a comparison between the two types of detectors used in the method developed here. It can be seen that the FD is consistently more sensitive than the ToF-MS. However, the LOD and LOQ values for the FD are both generally greater than that observed for the ToF-MS. To understand the reasoning for this, it is important to keep in mind that instrumental sensitivity is defined as the instrument response to a given analyte, per unit concentration of that analyte, whereas the LOD and LOQ values are functions of the backgrounds observed by the detector for a given analyte. The FD exhibited a greater response per unit concentration of each target analyte it was exposed to, yet the background observed by the FD was greater for most analytes, than that which was observed by the ToF-MS. Consequently, the ToF-MS demonstrated a greater overall ability to limit background noise associated with most analytes than was the FD. Therefore, the ToF-MS boasted a lower LOD for 15 of the target analytes and a lower LOQ for 16 of the target analytes, than did the FD. During the evaluation of the performance of the method developed here, it can be seen that this new technique is a sensitive analytical tool that provides low LOD and LOQ values for amino acids and respective homopeptides, while using multiple detectors to identify target analytes via 3 different analytical metrics, including accurate mass measurements.

2.3. Room temperature/heating experiments

Small quantities of Gly3 were produced by the fourth collection time (t4 = 24 days) for room temperature and mildly heated experimental reaction solutions. The signal intensities for this analyte in both the room temperature and mildly heated experimental reaction solutions reached a maximum at tf = 106 days (Figure S2). Gly3 abundances are not reported here because the analyte concentrations did not exceed the instrumental LOQ. Additionally, Gly-based homopeptides longer than trimers were not formed over the course of the 106-day experiment.

Accurate mass chromatograms demonstrate the detection of Ala2 in the experimental reaction solutions, but the absence of Ala2 in the experimental control solutions (Figure S3). The temporal Ala2 formation under room temperature and mild heating conditions, is displayed in Figure S4 for both experimental control and reaction solutions. Experimental control solutions failed to generate detectable quantities of Ala2. Experimental reaction solutions generated detectable quantities of Ala2 by the first collection time (t1 = 3 days) when exposed to mild heating (50 °C), but failed to generate detectable quantities of Ala2 until after the third collection time (t3 = 9 days) when left at room temperature. Given the disparate synthetic trends between room temperature and mild heating conditions at the onset of the experiment, it was surprising to observe that the room temperature experimental reaction solutions produced almost twice as much Ala2 after 106 days than did the mildly heated experimental reaction solutions (Figure S4). The room temperature experimental reaction solutions produced ~77 mM of Ala2, while the heated experimental reaction solutions produced ~40 mM of Ala2 (Table 4). Small quantities of Ala3 were produced in both the room temperature and heating experiments, where maximum concentrations were observed after 106 days (Figure S5) for both room temperature and mild heating conditions. Ala3 abundances are not reported here because the analyte concentrations did not exceed the instrumental LOQ. Furthermore, Ala-based homopeptides longer than trimers were not observed over the course of the 106-day experiment.

Upon confirming that DAP successfully facilitated the oligomerization of simple amino acids, such as Gly and Ala, it was explored if DAP could facilitate amino acid oligomerization of more complex monomers, such as Asp and Glu. Under room temperature conditions, maximum Asp2 formation was observed after 24 days, while maximum Asp2 formation was observed after 9 days when mild heating was applied (Table 4). While the differences between these maximum Asp2 abundances appeared to be significant when examining accurate mass LC-MS data (Figure S6), the quantitative synthetic trends of Asp2 over the course of the 106-day experiment appeared to be surprisingly similar for both room temperature and mild heating conditions (Figure S7). As was the case with simple amino acids, such as Gly, experimental control solutions failed to produce Asp-based peptides, confirming the necessity of DAP to induce oligomerization. Experimental reaction solutions generated detectable quantities of Asp2 by the first collection time (t1 = 3 days) under both room temperature and mild heating (50 °C) conditions, demonstrating the facile nature by which Asp oligomerized in the presence of DAP. However, Asp-based homopeptides longer than dimers were not formed during the experiment.

Accurate mass chromatograms of Glu2 formation at the respective time points of maximum signal intensities for both the room temperature and mild heating experimental reaction solutions indicate that the room temperature experiments generated a greater maximum quantity of Glu2 over the course of the 106-day experiment than did the heating experiments (Figure S8). The temporal Glu2 formation under room temperature and mild heating conditions is displayed in Figure S9 for both experimental control and reaction solutions. Experimental control solutions failed to produce Glu-based peptides, while experimental reaction solutions produced minimal quantities (~2 mM) of Glu2 under room temperature conditions. Glu2 abundances formed under mild heating conditions are not reported here because under these conditions, Glu2 was detected just over the LOD, but did not exceed the instrumental LOQ. Experimental reaction solutions generated detectable quantities of Glu2 by the fourth collection time (t4 = 24 days) when exposed to both room temperature and mild heating (50 °C) conditions. Furthermore, Glu-based homopeptides longer than dimers could not be detected in either the room temperature experimental reaction solutions, or those exposed to mild heating at 50 °C. This result underscores that Glu does not oligomerize nearly as readily as the other three amino acids tested under the same experimental conditions.

2.4. Simulated environmental wet-dry cycling experiments

For the purpose of evaluating if DAP was capable of facilitating the oligomerization of peptides, in addition to amino acids, Gly2 was used as an additional test starting reagent to determine if oligomers of Gly2 were preferentially synthesized upon exposure to simulated environmental cycling. Under these conditions, it can be seen that in the absence of cycling (ti), only Gly2 is detectable (Figure S10A). However, after cycling is implemented, Gly4 and Gly6 are also detectable, indicating that Gly2 was successfully oligomerized into its dimer and trimer (Figure S10B). It is worth noting that Gly3 and Gly5 were disproportionately not formed in this experiment; however, a small peak for Gly3 was observed in the mass chromatogram (Figure S10B), likely due to the presence of trace amounts of Gly contaminant reacting with Gly2 and DAP during the oligomerization reaction to form minute quantities of Gly3. The formation of Gly2 oligomers as a function of simulated environmental cycles is shown in Figure S10C where it can be seen that, as expected, Gly4 was formed more prevalently than Gly6, but that Gly6 was still readily generated to appreciable quantities (~363 mM) after 4 cycles (Table 5). The higher abundances of Gly4 than Gly6 may be partially due to aqueous solubility limitations associated with Gly6.

References

[S1] D.P. Glavin, J.E. Elsila, H.L. McLain, J.C. Aponte, E.T. Parker, J.P. Dworkin, D.H. Hill, H.C. Connolly Jr., D.S. Lauretta, Extraterrestrial amino acids and L-enantiomeric excesses in the CM2 carbonaceous chondrites Aguas Zarcas and Murchison, Meteorit. & Planet. Sci. (2020) https://doi.org/10.1111/maps.13451.

[S2] S.A. Cohen, D.P. Michaud, Synthesis of a Fluorescent Derivatizing Reagent, 6-Aminoquinolyl-N-Hydroxysuccinimidyl Carbamate, and Its Application for the Analysis of Hydrolysate Amino Acids via High-Performance Liquid Chromatography, Anal. Biochem. 211 (1993) 279-287.

[S3] K. Danzer, L.A. Currie, Guidelines for Calibration in Analytical Chemistry. Part 1. Fundamentals and Single Component Calibration, Pure and Appl. Chem. 70 (1998) 993-1014.

[S4] M.E Monge, J.J. Perez, P. Dwivedi, M. Zhou, N.A. McCarty, A.A. Stecenko, F.M. Fernández, Ion mobility and liquid chromatography/mass spectrometry strategies for exhaled breath condensate glucose quantitation in cystic fibrosis studies, Rapid Commun. in Mass Spectrom. 27 (2013) 2263-2271.

[S5] E.T. Parker, H.J. Cleaves II, J.L. Bada, F.M. Fernández, Quantitation of a-hydroxy acids in complex prebiotic mixtures via liquid chromatography/tandem mass spectrometry, Rapid Commun. in Mass Spectrom. 30 (2016) 2043-2051.

Figures

Figure S1. Schematic of AccQ·Tag derivatization reaction. This schematic gives general examples of how the AccQ·Tag derivatization agent reacts with amino acids and homopeptides to yield the derivatized target analyte that were subsequently detected and quantitated by UPLC-FD/ToF-MS. The schematic shown here is based on Cohen and Michaud [S2].

Figure S2. Gly3 production under room temperature and mild heating conditions. Accurate mass chromatograms of a Gly3 standard (bottom, black), reaction mixture of a solution of Gly + imidazole (middle, orange), and reaction mixture of a solution of Gly + imidazole + DAP (top, blue). Data are collected after 0 days (ti) and 106 days (tf) when maximum Gly3 signal intensities were reached for both the room temperature and mild heating (50 °C) experimental reaction solutions. Accurate mass chromatograms were extracted from m/z 360.1308. Asterisks denote peaks that represent Gly3. Here, min = minutes.

Figure S3. Ala2 production under room temperature and mild heating conditions. Accurate mass chromatograms of an Ala2 standard (bottom, black), reaction mixture of a solution of Ala + imidazole (middle, orange), and reaction mixture a solution of Ala + imidazole + DAP (top, blue). Data are collected after 0 days (ti) and 106 days (tf) when maximum Ala2 concentrations were reached for both room temperature and mild heating (50 °C) experimental reaction solutions. Accurate mass chromatograms were extracted from m/z 331.1406. Asterisks denote peaks that represent Ala2. Here, min = minutes.

Figure S4. Temporal Ala2 production under room temperature and mild heating conditions. Ala2 is not synthesized in the absence of DAP, and Ala2 synthesis was surprisingly enhanced at the end of the 106-day experiment, under room temperature conditions. Samples portrayed here were analyzed in triplicate. Uncertainties (δx) were determined as the standard error (δx= σx · (n)-12), whereby the uncertainties were based on the standard deviation (σx) of the average value of 3 separate measurements (n=3). In this figure, I = imidazole, and RT = room temperature.

Figure S5. Ala3 production under room temperature and mild heating conditions. Accurate mass chromatograms of an Ala3 standard (bottom, black), reaction mixture of a solution of Ala + imidazole (middle, orange), and reaction mixture of a solution of Ala + imidazole + DAP (top, blue). Data are collected after 0 days (ti) and 106 days (tf) when maximum Ala3 signal intensities were reached for both room temperature and mild heating (50 °C) experimental reaction solutions. Accurate mass chromatograms were extracted from m/z 402.1777. Asterisks denote peaks that represent Ala3. Here, min = minutes.

Figure S6. Asp2 production under room temperature and mild heating conditions. Accurate mass chromatograms of an Asp2 standard (bottom, black), reaction mixture of a solution of Asp + imidazole (middle, orange), and reaction mixture of a solution of Asp + imidazole + DAP (top, blue). Data are collected after 0 days (ti), after 24 days (t4) when maximum Asp2 concentrations were reached for room temperature experimental reaction solutions, and after 9 days (t3) when maximum Asp2 concentrations were reached for mild heating (50 °C) experimental reaction solutions. Accurate mass chromatograms were extracted from m/z 419.1203. Asterisks denote peaks that represent Asp2. Here, min = minutes.

Figure S7. Temporal Asp2 production under room temperature and mild heating conditions. Asp2 is not synthesized in the absence of DAP, and Asp2 synthesis is surprisingly similar between room temperature and mild heating conditions. Samples portrayed here were analyzed in triplicate. Uncertainties (δx) were determined as the standard error (δx= σx · (n)-12), whereby the uncertainties were based on the standard deviation (σx) of the average value of 3 separate measurements (n=3). In this figure, I = imidazole, and RT = room temperature.

Figure S8. Glu2 production under room temperature and mild heating conditions. Accurate mass chromatograms of a Glu2 standard (bottom, black), reaction mixture of a solution of Glu + imidazole (middle, orange), and reaction mixture of a solution of Glu + imidazole + DAP (top, blue). Data are collected after 0 days (ti), after 106 days (tf) when maximum Glu2 concentrations were reached for room temperature experimental reaction solutions, and after 24 days (t4) when maximum Glu2 signal intensities were reached for mild heating (50 °C) experimental reaction solutions. Accurate mass chromatograms were extracted from m/z 447.1516. Asterisks denote peaks that represent Glu2. Here, min = minutes.

Figure S9. Temporal Glu2 production under room temperature and mild heating conditions. Glu2 is not synthesized in the absence of DAP. However, Glu2 synthesis is relatively inefficient when in the presence of DAP and imidazole, possibly due to the complexity of the Glu structure compared to simpler amino acids like Gly and Ala. Measurements portrayed here were performed in triplicate, except for the tf measurement for the Glu + imidazole + DAP room temperature experimental reaction solution, which was performed in duplicate, thus causing a larger uncertainty estimate for the corresponding measurement. Uncertainties (δx) were determined as the standard error (δx= σx · (n)-12), whereby the uncertainties were based on the standard deviation (σx) of the average value of 2 or 3 separate measurements (n=2 or 3). In this figure, I = imidazole, and RT = room temperature.

Figure S10. DAP is capable of inducing the oligomerization of peptides. A mixture of 10 mM Gly2, 10 mM imidazole, and 10 mM DAP did not contain any oligomers of Gly2 prior to cycling (A). However, upon cycling, it is readily observed that Gly4 and Gly6 were disproportionately synthesized (B). Upon completion of the cycling experiments, it can be seen that Gly4 was consistently present at higher abundances than Gly6 (C). Samples portrayed here were analyzed in triplicate. Uncertainties (δx) were determined as the standard error (δx= σx · (n)-12), whereby the uncertainties were based on the standard deviation (σx) of the average value of 3 separate measurements (n=3). The following m/z values were used to obtain the chromatograms shown in (A) and (B): Peak #1) Gly2 = m/z 303.1093, Peak #2) Gly3 = m/z 360.1308, Peak #3) Gly4 = m/z 417.1523, Peak #4) Gly5 = m/z 474.1737, and Peak #5) Gly6 = m/z 531.1952. Standard chromatograms in (A) and (B) were composed by combining individual mass chromatograms of Gly-based oligomers in a mixed standard, which were run on the same days as the non-cycled sample (A) and the cycled sample (B). Here, min = minutes.

Tables

Table S1. The newly developed method provided accurate identification of target analytes. Detection metrics associated with the technique developed in this study, when exposed to a mixed standard of target amino acids and homopeptides. The data in this table was generated from the same standard run that produced the fluorescence chromatogram shown in Figure 1. Upon derivatization with AccQ·Tag, target analytes experienced a mass shift of 170 Da. Mass error was calculated as [(masstheoretical- massexperimental)masstheoretical] x 106.

| Peak Number | Analyte | LC RT (min) | MS RT (min) | [M+H]+ Chemical Formula | Theoretical m/z | Experimental m/z | Mass Error (ppm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gly2 | 12.22 | 12.29 | C14H15N4O4 | 303.1093 | 303.1077 | 5.2786 |
| 2 | Gly3 | 13.23 | 13.25 | C16H18N5O5 | 360.1308 | 360.1296 | 3.3321 |
| 3 | Gly4 | 13.23 | 13.34 | C18H21N6O6 | 417.1523 | 417.1512 | 2.6369 |
| 4 | Gly5 | 13.73 | 13.84 | C20H24N7O7 | 474.1737 | 474.1730 | 1.4763 |
| 5 | Gly6 | 14.17 | 14.26 | C22H27N8O8 | 531.1952 | 531.1937 | 2.8238 |
| 6 | Gly | 14.59 | 14.68 | C12H12N3O3 | 246.0879 | 246.0857 | 8.9399 |
| 7 | Asp2 | 14.84 | 14.92 | C18H19N4O8 | 419.1203 | 419.1181 | 5.2491 |
| 8 | Asp3 | 15.40 | 15.49 | C22H24N5O11 | 534.1472 | 534.1460 | 2.2466 |
| 9 | Asp | 15.83 | 15.93 | C14H14N3O5 | 304.0933 | 304.0927 | 1.9731 |
| 10 | Asp4 | 16.21 | 16.30 | C26H29N6O14 | 649.1742 | 649.1753 | -1.6945 |
| 11 | Glu | 16.63 | 16.71 | C15H16N3O5 | 318.1090 | 318.1082 | 2.5149 |
| 12 | Glu2 | 16.95 | 17.30 | C20H23N4O8 | 447.1516 | 447.1515 | 0.2236 |
| 13 | Glu3 | 17.51 | 17.61 | C25H30N5O11 | 576.1942 | 576.1948 | -1.0413 |
| 14 | Ala2 | 17.65 | 17.74 | C16H19N4O4 | 331.1406 | 331.1403 | 0.9060 |
| 15 | Ala | 17.95 | 18.04 | C13H14N3O3 | 260.1035 | 260.1024 | 4.2291 |
| 16 | Ala3 | 18.25 | 18.34 | C19H24N5O5 | 402.1777 | 402.1773 | 0.9946 |
| 17 | Ala4 | 19.17 | 19.26 | C22H29N6O6 | 473.2149 | 473.2146 | 0.5340 |
| 18 | Ala5 | 19.51 | 19.60 | C25H34N7O7 | 544.2520 | 544.2522 | -0.3675 |

Table S2. Analytical figures of merit for the FD. This table reports the following analytical figures of merit for the FD: sensitivity, linear range, LOD, and LOQ.

| Analyte | Regression Equation | R2 | Linear Range (nM)a | Sensitivity (S, nM-1)b | LODc (nM) | LOD (fmol on column) | LOQd (nM) | LOQ (fmol on column) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gly | y = 1.40x + 44.59 | 1.0000 | 37.65 - 45,000 | 1.40 ± 0.01 | 37.65 | 7.53 | 203.67 | 40.73 |
| Gly2 | y = 2.80x - 32.08 | 0.9997 | 86.50 - 45,000 | 2.80 ± 0.07 | 86.50 | 17.30 | 262.25 | 52.45 |
| Gly3 | y = 2.36x + 17.47 | 0.9997 | 73.82 - 45,000 | 2.36 ± 0.05 | 73.82 | 14.76 | 250.19 | 50.04 |
| Gly4 | y = 2.36x + 17.47 | 0.9997 | 73.82 - 45,000 | 2.36 ± 0.05 | 73.82 | 14.76 | 250.19 | 50.04 |
| Gly5 | y = 1.98x + 131.56 | 0.9998 | 81.62 - 45,000 | 1.98 ± 0.04 | 81.62 | 16.32 | 379.60 | 75.92 |
| Gly6 | y = 1.49x - 1.22 | 0.9992 | 27.93 - 45,000 | 1.49 ± 0.05 | 27.93 | 5.59 | 91.19 | 18.24 |
| Ala | y = 1.39x - 6.94 | 1.0000 | 22.06 - 45,000 | 1.39 ± 0.01 | 22.06 | 4.41 | 79.87 | 15.97 |
| Ala2 | y = 2.41x + 34.44 | 0.9997 | 50.19 - 45,000 | 2.41 ± 0.06 | 50.19 | 10.04 | 194.70 | 38.94 |
| Ala3 | y = 2.54x + 27.50 | 0.9993 | 57.69 - 45,000 | 2.54 ± 0.03 | 57.69 | 11.54 | 184.90 | 36.98 |
| Ala4 | y = 1.67x - 6.13 | 1.0000 | 10.01 - 45,000 | 1.67 ± 0.004 | 10.01 | 2.00 | 24.82 | 4.96 |
| Ala5 | y = 3.03x + 1.45 | 1.0000 | 29.42 - 45,000 | 3.03 ± 0.01 | 29.42 | 5.88 | 99.16 | 19.83 |
| Asp | y = 1.47x + 20.76 | 1.0000 | 42.47 - 45,000 | 1.47 ± 0.01 | 42.47 | 8.49 | 183.44 | 36.69 |
| Asp2 | y = 2.17x - 11.23 | 0.9999 | 32.67 - 45,000 | 2.17 ± 0.02 | 32.67 | 6.53 | 96.81 | 19.36 |
| Asp3 | y = 2.56x + 12.12 | 1.0000 | 83.69 - 45,000 | 2.56 ± 0.02 | 83.69 | 16.74 | 292.84 | 58.57 |
| Asp4 | y = 2.25x + 26.16 | 0.9999 | 54.71 - 45,000 | 2.25 ± 0.04 | 54.71 | 10.94 | 204.99 | 41.00 |
| Glu | y = 1.47x + 196.47 | 0.9999 | 35.10 - 45,000 | 1.47 ± 0.02 | 35.10 | 7.02 | 429.08 | 85.82 |
| Glu2 | y = 2.39x + 61.64 | 0.9998 | 24.77 - 45,000 | 2.39 ± 0.03 | 24.77 | 4.95 | 142.83 | 28.57 |
| Glu3 | y = 2.10x + 11.69 | 1.0000 | 18.89 - 45,000 | 2.10 ± 0.02 | 18.89 | 3.78 | 64.20 | 12.84 |

aWhen determining the linear range, analyte concentrations above 45,000 nM (45.0 mM) were not tested.

bThe sensitivity of the detector to a given analyte is determined by the slope of the weighted linear regression (averaged peak area vs analyte concentration).

cThe LOD is defined as 3 times the weighted, random error in the y-direction ( syxw). See equation (S8) for details on how to obtain the weighted, random error in the y-direction.

dThe LOQ is defined as 10 times the weighted, random error in the y-direction ( syxw). See equation (S8) for details.

Table S3. Analytical figures of merit for the ToF-MS. This table reports the following analytical figures of merit for the ToF-MS: sensitivity, linear range, LOD, and LOQ.

| Analyte | Regression Equation | R2 | Linear Range (nM)a | Sensitivity (S, nM-1)b | LODc (nM) | LOD (fmol on column) | LOQd (nM) | LOQ (fmol on column) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gly | y = 0.65x + 25.09 | 0.9898 | 53.83 - 45,000 | 0.65 ± 0.09 | 53.83 | 10.77 | 280.15 | 56.03 |
| Gly2 | y = 0.80x – 2.72 | 0.9981 | 15.39 - 45,000 | 0.80 ± 0.06 | 15.39 | 3.08 | 51.51 | 10.30 |
| Gly3 | y = 0.63x – 4.39 | 0.9851 | 17.03 - 45,000 | 0.63 ± 0.09 | 17.03 | 3.41 | 40.46 | 8.09 |
| Gly4 | y = 0.56x + 0.20 | 0.9892 | 25.17 - 45,000 | 0.56 ± 0.07 | 25.17 | 5.03 | 82.15 | 16.43 |
| Gly5 | y = 0.51x – 0.02 | 0.9954 | 9.91 - 45,000 | 0.51 ± 0.03 | 9.91 | 1.98 | 32.91 | 6.58 |
| Gly6 | y = 0.29x – 0.64 | 0.9975 | 17.20 - 45,000 | 0.29 ± 0.02 | 17.20 | 3.44 | 52.21 | 10.44 |
| Ala | y = 0.79x – 1.11 | 0.9950 | 48.99 - 45,000 | 0.79 ± 0.06 | 48.99 | 9.80 | 161.95 | 32.39 |
| Ala2 | y = 1.23x – 2.34 | 0.9932 | 7.12 - 45,000 | 1.23 ± 0.10 | 7.12 | 1.42 | 19.08 | 3.82 |
| Ala3 | y = 1.45x – 0.33 | 0.9923 | 1.75 - 45,000 | 1.45 ± 0.11 | 1.75 | 0.35 | 5.30 | 1.06 |
| Ala4 | y = 0.94x – 1.03 | 0.9931 | 4.56 - 45,000 | 0.94 ± 0.07 | 4.56 | 0.91 | 13.05 | 2.61 |
| Ala5 | y = 2.52x – 0.84 | 0.9910 | 3.14 - 45,000 | 2.52 ± 0.21 | 3.14 | 0.63 | 9.74 | 1.95 |
| Asp | y = 0.26x + 3.36 | 0.9954 | 31.79 - 45,000 | 0.26 ± 0.02 | 31.79 | 6.36 | 140.12 | 28.02 |
| Asp2 | y = 0.14x + 0.24 | 0.9992 | 16.83 - 45,000 | 0.14 ± 0.004 | 16.83 | 3.37 | 60.29 | 12.06 |
| Asp3 | y = 0.12x – 2.20 | 0.9991 | 39.66 - 45,000 | 0.12 ± 0.004 | 39.66 | 7.93 | 88.31 | 17.66 |
| Asp4 | y = 0.08x – 1.66 | 0.9972 | 37.92 - 45,000 | 0.08 ± 0.01 | 37.92 | 7.58 | 77.94 | 15.59 |
| Glu | y = 0.47x + 1.51 | 0.9940 | 10.65 - 45,000 | 0.47 ± 0.04 | 10.65 | 2.13 | 48.59 | 9.72 |
| Glu2 | y = 0.23x + 0.33 | 0.9968 | 18.44 - 45,000 | 0.23 ± 0.01 | 18.44 | 3.69 | 64.85 | 12.97 |
| Glu3 | y = 0.13x – 1.22 | 0.9983 | 22.99 - 45,000 | 0.13 ± 0.01 | 22.99 | 4.60 | 54.08 | 10.82 |

aWhen determining the linear range, analyte concentrations above 45,000 nM (45.0 mM) were not tested.

bThe sensitivity of the detector to a given analyte is determined by the slope of the weighted linear regression (averaged peak area vs analyte concentration).

cThe LOD is defined as 3 times the weighted, random error in the y-direction syxw. See equation (S8) for details.

dThe LOQ is defined as 10 times the weighted, random error in the y-direction syxw. See equation (S8) for details.