Artemis III NeUtron surface science.  H. Fuqua Haviland1, P. F. Bertone1, M. J. Christl 1, J. A. Caffrey1, J. A. Apple1. 1NASA Marshall Space Flight Center (heidi.haviland@nasa.gov).

Introduction: This paper highlights lunar neutron science that can be performed in support of the Artemis 2024 mission within 6 degrees of the lunar south pole. There are two primary science goals: the characterization of the radiation environment, and secondly, inference of regolith composition including the presence of water. Characterizing the surface radiation environment is important for risk identification and mitigation during crewed lunar missions. The lunar surface radiation environment includes a unique neutron contribution. The relative contribution from neutrons is higher outside the shielding effects of Earth’s magnetic field, which the Moon experiences ~25% of its orbit. To evaluate the radiation risk to astronauts at the lunar surface, fast neutron measurements are needed. Neutrons are generated when galactic cosmic rays (GCR) collide with the lunar regolith and provide valuable elemental composition information about the near surface (< 1 m). For the characterization of regolith composition, a low energy neutron spectrometer or counter can determine surface composition. This provides ground truth for orbital neutron data from the Lunar Reconnaissance Orbiter and Lunar Prospector missions.

Neutron Science Objectives: The objective of this investigation is to determine the amount of neutron radiation at the surface of the Moon by measuring the thermal, epithermal, and fast neutron count rates and spectra. It is important to understand the amount of neutron radiation at the lunar surface because it is a hazard to humans [1], and also to understand the Moon’s near surface composition in terms of elemental abundances [2], and hydrogen content [3]. Measurements of neutron radiation on the Moon’s surface have previously been made from the lunar surface at Apollo 17 [4], and from orbiters including the Lunar Prospector Neutron Spectrometer [5] and Lunar Reconnaissance Orbiter (LRO) Lunar Exploration Neutron Detector (LEND) [6]. A recent multi-fluid simulation of the Magnetosphere demonstrated a polar base will experience twice as much radiation as one at the nearside equator [7]. Observations of the fast neutron spectrum at the lunar south pole will provide a characterization of the surface radiation environment and will help assess future base and EVA activities.

Neutron measurements made at the lunar surface will improve the detail and reliability of the data gathered during orbital missions providing ground truth, and could also help identify hydrogen, rare earth elements (REE), and help differentiate between mafic and anorthositic chemistry, all of which contribute to a fundamental understanding the Moon’s geologic processes that continue to shape it today [8]. These measurements may also help better understand the temporal variation of hydrogen throughout the lunar day [9].

Neutron Moderation Theory. Protons emitted from the Sun and ‘cosmic-rays’ (the nuclei of elements like hydrogen, helium, carbon and iron from sources in the Milky Way Galaxy such as supernovae), strike the lunar surface initiating nuclear reactions and generating fast neutrons. These fast neutrons lose energy through collisions, exchanging kinetic energy with target atoms. They may escape the surface as a less-energetic ‘epithermal’ neutron or continue to scatter until reaching thermal equilibrium with the surrounding medium. Thermal and epithermal neutrons are the result of these collisions and moderation, or slowing, of the fast neutrons [10, 11]. These slower-moving neutrons, known as ‘thermal’ neutrons, have energies less than ~0.4 eV, while having started out with energies on the order of one to hundreds of MeV. The amount of energy lost by the neutron per collision is driven by the relative size of the colliding nucleus. The presence of hydrogen, therefore, greatly increases the conversion of fast neutrons to thermal neutrons since collisions with the roughly equal-weight hydrogen is most effective at slowing them down. By analogy, consider a ping pong ball (the neutron) scattering persistently around a room full of bowling balls (atoms of regolith), but rapidly settling when encountering a bin of other ping pong balls (hydrogen atoms).

Neutron measurements at the lunar surface could support the development of future habitation of the lunar surface. Hydrogen or water on the lunar surface can support in-situ resource utilization (ISRU), such as the production of propellants or life support replenishment. The amount of thermal neutrons is also a very sensitive indicator of the presence of neutron-absorbing elements such as iron, titanium, gadolinium, and samarium. The ISRU community is very interested in titanium and iron alloys that might be present on the Moon and which could be used for additive manufacturing of parts or components on-site at a lunar surface habitat. Gadolinium and samarium are indicators of the possible locations for other rare earth elements. These elements are a critical ingredient in many high-tech applications such as computers and smartphones and are part of the focus of the “Subcommittee on Critical and Strategic Mineral Supply Chains of the Committee on Environment, Natural Resources, and Sustainability of the National Science and Technology Council” [12].

Proposed Investigation Instruments: MSFC’s Advanced Neutron Spectrometer instrument development lab has two instruments of interest for this investigation. This includes the Advanced Neutron Spectrometer - Lunar Surface Measurements (ANS-LSM) instrument which covers the most biologically significant energies from thermal to ~20 MeV. The ANS-LSM is based on heritage instrument design from the Fast Neutron Spectrometer (FNS) that has measured the ISS crew neutron exposure for the past 3 years, and revealed the significant neutron contribution to total exposure.

Secondly, MSFC’s Neutron Measurements at the Lunar Surface (NMLS) instrument, which will fly on Astrobotic mission 1 in 2021, as a part of the first CLPS mission. NMLS measures thermal and epithermal neutron count rates using similar composite scintillator detectors to FNS. The NMLS instrument is a low mass (~4 kg), low power (~5 W), low volume (~20 x 17 cm), and low data (~10 bps) passive radiation monitoring instrument capable of providing high science return.

Measurement Technique: Neutron detectors proposed here combines two types of scintillators. Hundreds of 120-micron, 6Li-doped glass fiber scintillators can be embedded within a plastic cube scintillator. The characteristic light pulse from the glass scintillator has a longer decay time than that from the plastic scintillator and indicates that a neutron passed through the glass. Pulse shape discrimination allows the instrument to trigger on thermal, epithermal, or fast neutrons while rejecting other types of radiation, primarily gamma-rays and charged particles. Neutron energy discrimination can then be performed by subtraction of the two signals. We estimate a count rate on the order of 0.1 Hz on the lunar surface. Therefore, for a mission duration of eight days or more will be sufficient measuring time to determine the amount of thermal, epithermal, and fast neutrons at the landing site and advance the science and exploration objectives. These observations can be made autonomously on the lander (preferred method for the fast neutrons spectra characterization), on a rover and/or carried by the Astronaut to various interesting locations within the landing site.

References: [1] Adams J. H. et al. (2007) ASR, 40, 338-341. [2] Elphic, R. C. et al. (2000) JGR, 105, E8, 20,333-20,345. [3] Lawrence D. J. et al. (2011) JGR, 116. [4] Woolum D. S. et al. (1975) Moon, 12, 231-250. [5] Feldman W. C. et al. (2004) JGR, 109, E07S06, 1-19. [6] Mitrofanov I. G. et al. (2010) Space Sci. Reviews, 150, 183-207. [7] Winglee R. M. and Harnett E. M. (2007), GRL, 34, L21103. [8] Feldman W. C. et al. (2000) JGR, 105, E8, 20,347-20,363. [9] Jones B. M. et al. (2018) GRL, 45, 10,959-10,967. [10] Hasebe N. et al. (2018) Advances in Planetary Science – Vol. 1, Nuclear Planetary Science, ed. Ip W., ISBN 978-981-3209-70-1. [11] Prettyman T. H. (2007) Encyclopedia of the Solar System, ed. McFadden L. A. et al. chp. 41, 1230-1258. [12] Holdren J. P. et al. (2016) National Science and Technology Council. 1-41.