## Slide 1
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier

## Slide 2
Constantly streaming analog signal
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier

## Slide 3
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
Armed ready for trigger

## Slide 4
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
At a selected rate, sig gen sends a trigger signal and transducer signal simultaneously

## Slide 5
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
DAQ is triggered, sends data to computer for saving and rearms for next trigger

## Slide 6
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
Signal generation and data acquisition must be synched with high precision

## Slide 7
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
This trigger signal is a +5v TTL rising edge, but it does not have to be

## Slide 8
NASA Langley Research Center - Nondestructive Evaluation Sciences Branch
Laser Doppler Vibrometer System Architecture
Computer
DAQ Digitizer
Signal Generator
Transducer
LDV Controller
LDV
Test Part
Amplifier
The DAQ can be set to look for a peak voltage to act as a trigger, so we could trigger off the same power signal that runs the transducer,