## Slide 1: Rapid Nucleic Acid Isolation Method and Fluid Handling Devices Overview NASA Ames Technology Transfer Health, Medicine and Biotechnology Webinar
Travis Boone, Ph.D.
Fluidics Lead, WetLab-2
NASA Ames Research Center
04/27/2021

## Slide 2: Rapid Nucleic Acid Isolation Method and Fluid Handling Devices
Benefits
Portable
Pre-loaded, single-use disposables
Ambient long-term storage (or alternatively 4C)
User-defined target genes (vs fixed panel in most systems)
Rapid operation (< 1 hr)
Battery-powered prep  110V AC thermocycler
Low-toxicity; no special safety handling required
Technology Overview
RNA extraction + PCR reaction prep of custom target genes
Pre-loaded buffers and lyophilized RT/qPCR primers/probes
Single-use disposable; portable form factor
Low-toxicity (aqueous buffers; no alcohols/chaotropic salts)
Long-term storage at room temperature (or alternatively 4C)
RNA stabilization and DNase additives
< 1 hour sample preparation and PCR reaction assembly
Applications
Space research (gene expression, microbial monitoring)
Diagnostic industry including mobile diagnostics
Disease or microbial monitoring in remote areas
Cruise line pathogen detection
Food quality testing
Pipette
Loader
Repeater
Pipette
Reaction
Tube
Rotor
Drill
Centrifuge
SmartCycler™
Debubbler
Sample
Prep

## Slide 3: WetLab-2 Rapid Nucleic Acid Isolation and Fluid Handling Devices Use on ISS
Jeff Williams, Expedition 47, 04/29/16
Kate Rubins, Expedition 49, 10/04/16
Ricky Arnold, Expedition 56, 08/27/18