## Slide 1
AIAA SciTech-2022
Micro-Spectrometer (µ-SM) for Resource Mapping in Extreme Environments
Sang H. Choi
Robert W. Moses
NASA Langley Research Center
Hampton, VA
January 5, 2022
sang.h.choi@nasa.gov robert.w.moses@nasa.gov

## Slide 2: Diffraction & Fresnel Number
The value of F determines the valid diffraction approximation.
a = radius of aperture
z = distance along OA
λ = wavelength
F << 1 ; Fraunhofer Diffraction
F >> 1 ; Fresnel Diffraction
Most modern conventional spectrometers use the Fraunhofer diffraction because the resolution improves with a longer optical path.
y
r’
r
O
P(xyz)
O’
x
ξ
η
A

## Slide 3: Approximation of Diffraction Phenomena
x
r
P(x,y,z)
O’
ξ
η
y
x
z
r’
α
b
Screen (Detector)
Aperture
O
S(ξ,η,0)
S(η,ξ,0) at a coordinate (η,ξ,0) on an aperture and illuminates a point, P(x,y,z) at a coordinate (x,y,z) on a screen.
where λ = wavelength, k = wavenumber of light.
Fraunhofer Terms
Fresnel Terms
Approximation
with r’
is a temporary variable for integration,
is a fixed engineering parameter.

## Slide 4: Spectrometer Chip
700 m
500 m
Active Area: 6.4 mm x 0.5 mm
(Spectrum Area)
Die Size: 9.5 mm x 2.5 mm
Packaging: 15.8 mm x 7.87 mm

## Slide 5: Spectral Data & Resolution of Differential Line Fresnel Grating
50
45
40
35
30
25
20
15
10
5
0
400
350
300
250
200
150
100
50
0
0
50
100
150
200
250
Total Number of Lines per 2 mm
Resolution, nm
Resolving Power

## Slide 6
1-D Scan Prototype System
Micro-Spectrometer
System Electronics
Supercapacitor
WPT Coil
Bluetooth
Optical Sensing Probe
Electrical Stimulation Electrode
Laser Diode Driver
Laser Diode
Opto-Coupler
Coin-25¢
Surface Enhanced Raman Spectrometer

## Slide 7
Dopamine Sensing Results
Chart: 
Arbitrary Unit
Pixel

## Slide 8
Laser Diode Driver
Sensing Probe
CMOS Image Sensor
Battery
Bluetooth Module
Linear Grating
Beam Collimator
Dichroic Filter
Microcontroller
1-D Scan Prototype System

## Slide 9
Telemetry System
Laser Diode
or LED
LD or LED
Driver
Optics/
Sensing Unit
Super-capacitor
Charging Coil
Target
Fluorescence or
Luminescence
Laser or LED
Light
Optical Window
Releasable Antenna Coil
Bullet Micro-Spectrometer

## Slide 10: Bullet Micro-Spectrometer
Micro-Spectrometer
Optics
Super-capacitor with
Control & Telemetry
Electronics
Soil
< 2.5 cm
< 7.5 cm
Micro-Spectrometer
Principle of Fresnel diffraction
Light source: Deep or vacuum UV from burst-mode LED
Pulse mode power feed from super-capacitor
Bullet-like consumable micro-spectrometers (< $100)
Shooting by compressed air gun
Langley invented micro-spectrometer meets ​
NASA Roadmap 12 Science Instruments and Sensors.

## Slide 11
Compressed Gas
Gas Release Trigger
Magazine of
Micro-Spectrometer Bullets
Load Spring
Barrel
Array of Circumferentially
Arranged Magnets
Gas Gun for Bullet Micro-Spectrometer

## Slide 12: Composition of Lunar Regolith
https://en.wikipedia.org/wiki/Lunar_soil#/media/File:Composition_of_lunar_soil.svg
https://en.wikipedia.org/wiki/Lunar_soil#/media/File:Moon_vs_earth_composition.svg

## Slide 13
Construction of Consumables Depots for Crew & Power ( O2, H2)
Habitat, Hangars, Dust Free Zones, Landing Pads, Berm, and Road Construction
Propellant Processing with Lander & Pad Infrastructure
Resource Prospecting – Looking for Resources
Excavation & Regolith Processing for H2 & O2 Production, Binders & Aggregates
Thermal Energy Storage Construction
All Images credit: NASA

## Slide 14: Mars Soil Assay by Bullet Micro-Spectrometer
Bullet-like micro-spectrometers are shot out broadly to assay organic and inorganic components of Lunar/Mars/Asteroids soils.
Astronaut with Micro-Spectrometer Gun
Rover with Micro-Spectrometer Gun
Image Credit NASA
Image Credit NASA

## Slide 15: Lunar Soil Assay by Bullet Micro-Spectrometer
Penetration of Bullet Micro-Spectrometer into Steep Hillside and Bottom of Crater
Image Credit NASA

## Slide 16: Asteroid Soil Assay by Bullet Micro-Spectrometer
Penetration of Bullet Micro-Spectrometer
into Asteroid
Image credit: NASA

## Slide 17: Micro-Spectrometer for Lunar & Mars Exploration
Image Credit NASA
Image Credit NASA
Image Credit NASA

## Slide 18: Concluding Remarks
  Bullet type micro-spectrometer and deployment gun were designed for space applications.​
  Applications of micro-spectrometer bullets include mineral mapping on the Moon and Mars, especially hillsides and deepened bottom floor of craters.​
  Laboratory prototype was fully developed and tested for dopamine detection at several concentrations.​
  Based on the spectral data of the minerals of interest, line and pixel densities of the micro-spectrometer can be tailored for measurement accuracy and clarity.​
  Device components, such as avalanche photo-diode, burst-mode LED, cylindrical super-capacitor, and telemetry device require further development for enhanced and versatile performance of bullet shape micro-spectrometers.​