## Slide 1: PIND Task Group Report
Benny Damron, Jacobs Space Exploration Group, NASA Marshall Space Flight Center
April 19, 2022

## Slide 2
Task Group Composition
Metrics
Task Group Charter Review
Task Group status since January 2022 JEDEC meeting
Summary
Suggested recommendations for inclusion in the PIND test methods and JEP-114
Status

## Slide 3: PIND Task Group Members
PIND Task Group Work participant members represent the manufacturers, industry, and government agencies, and international partners:
  Manufacturers: Microchip, Texas Instruments, IR Hi Rel/Infineon, VPT Components, Semicoa, Teledyne Microwave Solutions, BAE Systems, Micropac Industries Inc.
  Industry Test Laboratories – Hi Rel Labs, ORS Labs, Golden Altos
  Government Agencies and their contractors – NASA, NSWC Crane Division, US Air Force, US Army, Aerospace Corporation, DLA Land and Maritime,
  International Partners – ESA, NASAM, TESAT/DLR

## Slide 4: PIND Task Group Metrics
Conducted 2 PIND Webex/Teleconferences since January 2022 JEDEC meeting
Meetings held on monthly basis
Average meeting attendance was (10 ).

## Slide 5: JC13 TG17-01 Task Group Charter Review
Clarify the intent of MIL-STD-883 TM 2020 PIND test in regards to:
  Device positioning onto the transducer head (i.e. centering).
  Training/Testing a device within the boundaries of the transducer. Simulated/Golden PIND unit – do we have to run every time? If so, what are the parameters of the Golden PIND unit.
  Condition A Frequency and G force if the internal cavity height is larger than 0.250 inches (6.35 mm).
  Advances in equipment (e.g. degaussing) verification/setup techniques shall be addressed.

## Slide 6: JC13 TG17-01 Task Group Charter Review
Clarify the intent of MIL-STD-883 TM 2020 PIND test in regards to:
  Static vs. dynamic setup and operation.
  Knowledge/certification of the equipment for their application (i.e. theory of operation), equipment verification and setup.
  Equipment degaussing and equivalent part degaussing.
  Batch testing is/is not prohibited.
  Other items – received an email from a user with concerns about false rejects due to bond wires touching during pind testing. Task Group Work is requesting data on this subject from device manufacturers, users, test laboratories, and equipment manufacturers.

## Slide 7: Suggested Recommendations for Test Methods and JEP-114
Recommend adding the following note to the test methods and JEP-114:
  Degaussing may be effective depending on particle type and package construction and is allowed but not required.
Recommend that a statement be added to MIL-STD-883 method 2020, MIL-STD-750, method 2052, and JEP114 such as:
  Devices not being PIND tested (e.g., waiting for test or completed test) should be located at a minimum of 12 inches away from the side of the magnetized shaker portion of the PIND test equipment.
Notes: Consider adding metric conversion to second bullet

## Slide 8: Suggested Recommendations for Test Methods and JEP114
Recommend adding the following statement:
The PIND equipment should be operated for 30 minutes with no device under test attached to verify system operation with no false positives when, but not limited to the following:
  Initial installation and qualification of PIND equipment in a facility including manufacturer, user, test laboratory etc.
  After a PIND system has been re-calibrated by the equipment manufacturer.
  When a PIND system has been moved from one location to another in the same facility or to a different facility.

## Slide 9: Suggested Recommendations for Test Methods and JEP114
From equipment startup, the PIND equipment shall be warmed up for a ‘period of 20 minutes’ minimum.
The use of a verification unit at equipment start up and prior to the start of the operator shift as a recommended best practice.
If equipment has been idle (with power on) for a minimum of 1 hour (lunch break etc.), then run a dry run without a part to determine noise level, verification unit can be tested prior to commencing testing if available.
Add JEDEC Publication JEP114 to the nongovernment paragraph in MIL-PRF-38534.
  JEP114 Guidelines for Particle Impact Noise Detection (PIND) Testing, Operator Training, and Certification
Notes: Should be listed in MIL-PRF-38534 considering various hybrid device classes such as class K, sometimes class H, non hermetic cavity devices, classes L and F open architecture cavity devices require PIND testing. 19500 JANS requires PIND testing for cavity packages and for some special purchase devices with – P suffix. Already in MIL-PRF-38535.
Maybe 1.5 hours(?) for second bullet
Jason to look at how this is referenced in other mil specs so that all reference it same way. In 19500 as JEDEC publication 114.

## Slide 10: Summary
Task group believes that the control sample paragraph 3.3.4 from JEP-114 should be added to the military test methods and would be considered a best practice. Further guidance can be found in JEP114.

## Slide 11: Status
Task group has addressed the concerns listed in the charter.
Task group has developed list of recommendations for inclusion into MIL-STD-883 and MIL-STD-750 PIND test methods. Task group is ready to submit those recommendations to DLA for inclusion in the test methods.
Task group is also working the longer shock pulse width proposal from Spectral Dynamics that started as a result of particle detection issues in small device packages.

## Slide 12: Future Work
Recommend close this task group since the task group has addressed the questions/concerns in the original charter
Can the PIND test methods in MIL-STD-883-2, test method 2020 and MIL-STD-750 -2, test method 2052 be combined?
  Are there enough differences between the two PIND test methods to warrant having separate test methods?
  What is DLA’s position on combining the microcircuit and discrete semiconductor PIND test methods?

## Slide 13: Thank you!
We would like to express our appreciation to the task group members, NASA NEPAG and SLS programs, Government Working Group, and TTM Technologies for their continued support of this effort.
Contact information:
              Benny Damron
              Jacobs Space Exploration Group (JSEG)
              NASA Marshall Space Flight Center
              Benny.Damron@nasa.gov
              Joe Miceli
              TTM Technology
              Joe.Miceli@TTMtech.com

## Slide 14: Acronyms
DLA – Defense Logistics Agency
DLR – German Aerospace Center
DPA – Destructive Physical Analysis
ESA – European Space Agency
ESD – Electrostatic Discharge
JEDEC – JEDEC Solid State Technology Association
NASA – National Aeronautics and Space Administration
MSFC- Marshall Space Flight Center
NSWC Crane – Naval Surface Warfare Center, Crane Division
PIND – Particle Impact Noise Detection
STU – Sensitivity Test Unit

## Slide 15: Backup Data

## Slide 16: JC13 TG17-01 Task Group Charter Review Results
Clarify the intent of MIL-STD-883 TM 2020 PIND test in regards to:
  Device positioning onto the transducer head (i.e. centering). Test method is concise as written. No change is needed.
  Training/Testing a device within the boundaries of the transducer. Simulated/Golden PIND unit – do we have to run every time? If so, what are the parameters of the Golden PIND unit. Training is available from the equipment manufacturer. Golden PIND unit usage may be problematic due to difficulty of obtaining those parts.
  Condition A Frequency and G force if the internal cavity height is larger than 0.250 inches (6.35 mm). Less than 40Hz operation and 20g peak vibration could damage the PIND test equipment as per both equipment manufacturers operation manual.

## Slide 17: JC13 TG17-01 Task Group Charter Review Results
Clarify the intent of MIL-STD-883 TM 2020 PIND test in regards to:
  Advances in equipment (e.g. degaussing) verification/setup techniques shall be addressed. Degaussing may be good practice, but how effective is it in improving detection? Repeat passes, should there be specific requirements?
  Static vs. dynamic setup and operation. Dynamic is preferred method, better detection.
  Knowledge/certification of the equipment for their application (i.e. theory of operation), equipment verification and setup. Equipment qualification, how is that performed by manufacturers and/or users? Operator & test equipment training, what should be required?