# Development of a Multi-Gas Microsensor Array for the Exploration Portable Life Support System

James Makel, Richard Kokoletsos, Darby Makel

Makel Engineering, Chico, California, 95973

Ryan Ogilvie

NASA Johnson Space Center, Houston, Texas, 77058

and

Sepehr Bastami

NASA Langley Research Center, Hampton, Virginia, 23681

The Portable Life Support System (PLSS) of the Exploration Extravehicular Mobility Unit (xEMU) requires sensors capable of measuring the major constituents of the gas stream. These major constituents include oxygen, carbon dioxide, and water vapor. The sensors must operate across a wide range of flow and pressure conditions and introduce very low pressure drop in the ventilation loop. The sensors must operate with low power and occupy a small volume. This paper reports the development of a compact, low power, multi-parameter astronaut life support sensor (M-PALSS). M-PALSS consists of an array of low-power chemical microsensors for oxygen, carbon dioxide, water vapor, and pressure. M-PALSS includes custom electronics to control the sensors and is packaged in a custom housing that meets the volume and shape requirements for service in the PLSS.

Chemical Engineer, Makel Engineering, 1585 Marauder St., Chico, California, 95973.

Mechanical Engineer, Makel Engineering, 1585 Marauder St., Chico, California, 95973.

President, Makel Engineering, 1585 Marauder St., Chico, California, 95973.

Development Engineer, Space Suit and Crew Survival Systems Branch, 2101 NASA Parkway, Houston, TX 77058.

Aerospace Research Engineer, Intelligent Flight Systems, 2 Langley Blvd., Hampton, Virginia.