## Slide 1
Microscopy Methods for Life Detection on Ocean Worlds
Pavel E.Z. Klier1, Nathan Bramall2, Antonio J. Ricco3 and Richard C. Quinn3
1Oakridge Associated Universities/NASA Ames Research Center, Moffett Field, CA, United States
2Leiden Measurement Technology, LLC, Sunnyvale, CA, United States
3NASA Ames Research Center

## Slide 2
The Search for Extraterrestrial Life
NASA
Enceladus
NASA
Europa
H = Habitable conditions
H
Raw Materials
water
Energy
T, pH, Eh,...
Solvent
Conditions
CHNOPS
light, chemical

## Slide 3
The Search for Extraterrestrial Life
LIFE!
Bio
catalysts
Containers
Building blocks
"Information" polymers
?
?
?
?
~
~
~
~

## Slide 4
The Luminescence Imager for Exploration (LIfE)
Fluidics subsystem
Optics subsystem

## Slide 5
The Luminescence Imager for Exploration (LIfE)
Passed environmental testing (GSFC-STD-7000A)
Fluidics subsystem
Rotary sample filtering stage (5 cm dia.)
In-line 10, 1, and 0.25 µm silicon nitride filters for sample size sorting/imaging
Fluidics manifold (9 x 8 x 4 cm) Functionality includes pressure, pH, conductivity measurements
fluorescent stain dry storage; metering pump and valves for sample manipulation and processing

## Slide 6
The Luminescence Imager for Exploration (LIfE)
Optics subsystem
Resolution | <0.5 um
LED 1 excitation | 275 nm
LED 2 excitation | 375 nm
LED 3 excitation | 470 nm
LED 4 excitation | 525 nm
Emission filter 1 | 334/40 nm
Emission filter 2 | 432/36 nm
Emission filter 3 | 515/30 nm
Emission filter 4 | 595/31 nm
Passed environmental testing (GSFC-STD-7000A)
Lens, filter, mirror and coating materials have passed 300 krad total ionizing dose gamma-radiation testing.
Microscope box with excitation LEDs, emission filters, folded optics
Objective
Piezo stage
Passed shock/vibrational testing

## Slide 7
Brightfield and Fluorescence Imaging
Lake Untersee, Antarctica Brightfield Images (470 nm LED)
1.2 µm filter
Lake Untersee UV Fluorescence Images (275 nm excitation/334 nm emission)
10 µm filter
10 µm filter
1.2 µm filter

## Slide 8
Colocalization of Structural Biosignatures
Lake Untersee Samples
Stained with Alexa 488-nhs
(primary amines)
Lake Untersee Samples
Stained with Primuline
(lipids)

## Slide 9
Image Data Compression
Full z-stack
4 mb per slice
Focused (stacked) image
81 kb
Selected objects against dark background
79 kb

## Slide 10
Mission Implementation Overview
Hand et al. 2017
Kilobytes of data
Megabytes of data

## Slide 11
Acknowledgements
Pavel Klier is supported by an ORAU NASA Postdoctoral fellowship
The development of the Luminescence Imager for Exploration (LIfE) microscope is based upon work supported by NASA issued through the SMD Concepts for Ocean worlds Life Detection Technology (COLDTech), Instrument Concepts for Europa Exploration-2 (ICEE-2), and Maturation of Instruments for Solar System Exploration (MatISSE) programs