## Slide 1: 14x22 Wall and Floor Tape Impact Study
Sam Zauber
Wind Tunnel Characterization Working Group (WTCWG)
2023 Face-to-Face Meeting
July 25-27, 2023

## Slide 2: Agenda
Overview
Test Objectives
Facility Description
Check Standard Probe Overview
Check Standard Probe Results
Wall Rake Results
WICS Results
Conclusions

## Slide 3: Overview
Study goals:
  Do wall and floor gaps impact the tunnel calibration?
  Can we discontinue taping the gaps during testing (and therefore improve operational efficiency)?
  Are there special test configuration considerations impacting the recommendation?
Presentation goals:
  Provide context of test performed to capture data for the study
  Report on results from three data sources
  Provide recommendations for future testing

## Slide 4: Test 673 Objectives
Primary Objective: Assess need for taping wall and floor gaps
  QCODE 2 & 3 with Standard Tape
  QCODE 2 & 3 with floor and wall tape removed
Secondary Objective: Compare dynamic pressure calibration against past test results
Additional Objective: Capture representative data for alternative configurations
  Single run of data capture
  QCODE 2 & 3 Taped and Un-Taped with Flaps Open
  QCODE 2 Taped with Entrance Cone Flaps Open
Taped
Taped
Un-Taped
Un-Taped
Notes: - One run performed with “partial tape”, which had tape removed from the floor, but still in place on the walls around the windows

## Slide 5: 14x22 Facility Description
Test Section Size
  14.5 ft x 21.75 ft x 50 ft
  4.4 m x 6.6 m x 15.2 m
Closed Jet
  Max Speed: 348 ft/sec (106 m/sec)
  Max unit Reynolds Number: 2.2x106/ft (7.2x106/m)
Open Jet
  Max Speed: 275 ft/sec (84 m/sec)
  Max unit Reynolds Number: 1.7x106/ft (5.6x106/m)
Usage
  Aircraft, Spacecraft, Rotorcraft
  Ground Effect, Free-Flight, Acoustic

## Slide 6: Check Standard Probe Overview
Model
  Single pitot-static probe at Tunnel Station 17.75’ (5.41m) (standard model position) and 87” height (2.21m) (Tunnel centerline)
  Optional wall/ceiling boundary layer rakes at entrance or model station
4 Tunnel Configurations
  QCODE 2: Closed Test Section, Boundary Layer Removal System (BLRS) off
  QCODE 3: Closed Test Section, BLRS on
  QCODE 4: Open Test Section, BLRS off
  QCODE 5: Open Test Section, BLRS on
Test Execution
  17 Test Section Dynamic Pressures (DPIHS): 1.5 to 120psf (23.9 to 5,745.6Pa)
  2-3 Consecutive DPIHS Sweeps: 1 Group
  Full database: 3 Groups
Primary comparison parameter
  Dynamic Pressure Calibration (CPRIME) = Probe Differential Pressure (DPCHS)
  Tunnel Differential Pressure (DPIHS)

## Slide 7: Check Standard Probe Results – QCODE 2
Within group repeatability
Partial tape joins trend at 35psf
Taped Back-up
No Tape Back-up
Notes: Error bars reflect group repeatability of measured data
No error bars on Partial Tape since only one data set was captured
Data table expresses CPRIME average of the data captured in that configuration at the DPIHS indicated in the first row. “Data Set Range” expresses the range (max-min) across the configurations

## Slide 8: Check Standard Probe Results – QCODE 3
Within group repeatability
Curves rotated about approx. 65psf
Taped Back-up
No Tape Back-up
Notes: Error bars reflect group repeatability of measured data
Data table expresses CPRIME average of the data captured in that configuration at that DPIHS. “Data Set Range” expresses the range (max-min) across the configurations

## Slide 9: Wall Rake Results – QCODE 2
Within group repeatability outside boundary layer
Boundary layer profile impacted on walls
Boundary layer height not impacted
No change on ceiling
Similar across all speeds
Back-up
Notes: Error bars reflect group repeatability of measured data
No error bars on Partial Tape since only one data set was captured

## Slide 10: Wall Rake Results – QCODE 3
Within group repeatability outside boundary layer
Boundary layer profile impacted on walls
Boundary layer height not impacted
No change on ceiling
Similar across all speeds
Back-up
Notes: - Error bars reflect group repeatability of measured data

## Slide 11: WICS Results – QCODE 2
Within group repeatability
Separation forward of Tunnel Station 17.75’
Back-up
Notes: Error bars reflect group repeatability of measured data
No error bars on Partial Tape since only one data set was captured
Separation is similar to that seen when comparing empty tunnel runs performed in different years, which indicates that while something is going on with the flow there it may not be related to the tape vs. no-tape configuration change. Additional investigation is required.
Jumps in curve may potentially be due to measurement bias of different modules. WICS port mapping places every other port on different modules with 2-4 modules supporting one slot.

## Slide 12: WICS Results – QCODE 3
Within group repeatability
Separation forward of Tunnel Station 17.75’
Back-up
Notes: Error bars reflect group repeatability of measured data
Separation is similar to that seen when comparing empty tunnel runs performed in different years, which indicates that while something is going on with the flow there it may not be related to the tape vs. no-tape configuration change. Additional investigation is required.
Jumps in curve may potentially be due to measurement bias of different modules. WICS port mapping places every other port on different modules with 2-4 modules supporting one slot.

## Slide 13: Conclusions
Tunnel calibration at tunnel station 17.75’ was not impacted by tape
Wall boundary layer height unaffected, but profile shape impacted
WICS trends impacted forward of tunnel station 17.75’, but within group repeatability
Recommended follow-up:
  Further study on WICS repeatability
  Floor boundary layer rakes testing
  Intake flap positioning effect analysis
  Entrance flap effect analysis
Notes: Future tests:
Consider no tape for tests that do not use WICS corrections
Those that do use WICS corrections, but have not tested in the tunnel before, consider no tape
Those that do use WICS corrections and have tested in the tunnel before, recommend keeping the tape consistent with previous entries until WICS repeatability is investigated further

## Slide 14: Questions/Comments?

## Slide 15: Check Standard Probe Back-up Slides
QCODE 2, No Tape Group Comparison
Back

## Slide 16: Check Standard Probe Back-up Slides
QCODE 2, Taped Group Comparison
Back

## Slide 17: Check Standard Probe Back-up Slides
QCODE 3, No Tape Group Comparison
Back

## Slide 18: Check Standard Probe Back-up Slides
QCODE 3, Taped Group Comparison
Back

## Slide 19: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 20: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 21: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 22: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 23: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 24: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 25: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 26: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 27: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 28: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 29: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 30: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 31: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 32: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 33: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 34: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 35: Wall Rake Back-up Slides – QCODE 2
Back

## Slide 36: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 37: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 38: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 39: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 40: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 41: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 42: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 43: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 44: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 45: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 46: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 47: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 48: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 49: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 50: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 51: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 52: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 53: Wall Rake Back-up Slides – QCODE 3
Back

## Slide 54: WICS Back-up Slides – QCODE 2
Back

## Slide 55: WICS Back-up Slides – QCODE 2
Back

## Slide 56: WICS Back-up Slides – QCODE 2
Back

## Slide 57: WICS Back-up Slides – QCODE 2
Back

## Slide 58: WICS Back-up Slides – QCODE 2
Back

## Slide 59: WICS Back-up Slides – QCODE 2
Back

## Slide 60: WICS Back-up Slides – QCODE 2
Back

## Slide 61: WICS Back-up Slides – QCODE 2
Back

## Slide 62: WICS Back-up Slides – QCODE 2
Back

## Slide 63: WICS Back-up Slides – QCODE 2
Back

## Slide 64: WICS Back-up Slides – QCODE 2
Back

## Slide 65: WICS Back-up Slides – QCODE 2
Back

## Slide 66: WICS Back-up Slides – QCODE 3
Back

## Slide 67: WICS Back-up Slides – QCODE 3
Back

## Slide 68: WICS Back-up Slides – QCODE 3
Back

## Slide 69: WICS Back-up Slides – QCODE 3
Back

## Slide 70: WICS Back-up Slides – QCODE 3
Back

## Slide 71: WICS Back-up Slides – QCODE 3
Back

## Slide 72: WICS Back-up Slides – QCODE 3
Back

## Slide 73: WICS Back-up Slides – QCODE 3
Back

## Slide 74: WICS Back-up Slides – QCODE 3
Back

## Slide 75: WICS Back-up Slides – QCODE 3
Back

## Slide 76: WICS Back-up Slides – QCODE 3
Back

## Slide 77: WICS Back-up Slides – QCODE 3
Back