SUPPORTING INFORMATION

Additional supporting information may be found in the online version of this article.

Data S1. Excel file containing all data points used to generate the plots shown in Fig. 13 and Figs. S3-S15.

Gas Adsorption and Specific Surface Area Measurements

Prior to the specific surface area measurements of the Murchison A and B residue pairs all sample tube glassware was baked at 300 °C for 3 h in air. The Murchison samples were degassed under vacuum at 35 °C for 6 h before the gas adsorption measurements. During experimental runs, the samples were held at liquid nitrogen temperatures and exposed to nitrogen gas at different ratios of the nitrogen saturation pressure and data were taken for 20 points in adsorption and 20 points in desorption.  The specific surface area was determined by performing a Brunauer-Emmett-Teller (BET) isotherm analysis of the adsorption data (Sing, 2001). In these analyses, only five points within the so-called linear region were used where the ratio of the pressure to the saturation pressure ranges from 0.05 to 0.3.  A BET plot of the data in this region should yield a straight line and the specific surface area can be calculated from the slope and intercept. A summary of the specific surface area results is shown in Table S1.

Analysis of Protein Amino Acids and Amines

Standards and Reagents. All commercially purchased reagents used were acquired from Sigma-Aldrich, Fisher Scientific, Acros Organics, Combi-Blocks, Bachem, Tokyo Chemical Industry, and Waters Corporation. Amino Acid Hydrolysate H from Waters was utilized along with stock amino acids prepared by dissolving individual analyte crystals (purities ranged from 96 to 100%) in ultrapure water. Stock amino acid standard solutions were made with concentrations ranging from 0.01 and 1 M. Once the individual standard solutions of each species were made, they were combined to facilitate the analysis of all target analytes in a single run. The stock solution for the amines was made to be between 0.01 and 2 M. This solution was then diluted to make 9 standards to facilitate the analysis of all target analytes in a single run.

Extraction and Derivatization Procedure. We extracted 0.4998 g and 0.5001 g of the Murchison A and B samples, respectively, for analysis of amines and amino acids. Each powdered sample was extracted by sonication in 2 mL of water in a flame-sealed 16 mm glass test tube at room temperature (approx. 25 °C) for 1 hour. After extraction, the residual meteorite solids were rinsed with 1 mL of water; the aqueous supernatant and rinses were combined into fraction (~ 2.7 mL of each sociation extract) and split by volume for analyses of amino acids and amines. A procedural blank was carried through an identical extraction and analysis procedure as the meteorite samples. The portions of the water extract allocated for protein amino acid analyses were dried under vacuum, and then derivatized with AccQ·Tag using previously described methods (Vinogradoff et al., 2020). Briefly, each dried residue was brought up in 70 μL of Waters AccQ·Tag sodium borate buffer and then 20 μL of Waters AccQ·Tag derivatizing agent was added to the sample and heated at 55 °C for 10 min. Standards consisting of a set of 9 calibrators of amino acids and amines (0.25–250 μM) were prepared in water and processed in the same way as the Murchison meteorite extracts.

LC-FD/QqQ-MS Measurements and Quantification Methods. The derivatized amino acid and amine extracts were then analyzed via the commercial Waters AccQ·Tag protocol on a Xevo TQS-Micro triple quadrupole mass spectrometer equipped with an electrospray ionization source (positive ion mode) using multiple reaction monitoring (MRM) mode. The Xevo TQ-S Micro capillary voltage was set to 1.0 keV, the sampling cone was set to 40 °C, the source temperature was set to 150 °C, the cone gas flow was set to 50 L/h, the desolvation temperature was set to 500 °C, and the desolvation gas flow was set to 1000 L/h. Samples were introduced via a Waters Acquity H-Class plus UHPLC with a fluorescence detector.

For UHPLC analysis, a 250 µL syringe, 50 µL loop, and 15 µL needle were used. UHPLC separations were performed using two – AccQ·Tag Ultra C18, 1.7 µm. 2.1 x150 mm columns in series. Amino acid target analytes were eluted using the following gradient: 0-15 min: 99.9% eluent A, 15-20 min: 99.9 – 95% eluent A, 20-22 min: 95 % eluent A, 22-29 min: 95 – 90% eluent A, 29-35 min: 90 – 78.8% eluent A, 35-38 min: 78.8% eluent A, 38-45 min: 78.8 – 40.4% eluent A, 45-55 min: 40.4% eluent A, 55-57 min: 40.4 – 99.9% eluent A, 57-60 min: 99.9 % eluent A. The autosampler temperature was maintained at 25 °C, the injection volume was 10 µL, the eluent flow rate was held at a constant 0.15 mL min-1, and the column was maintained at 55 °C. Amine target analytes were eluted using the following gradient: 0-2.49min: 0 – 10% eluent B, 2.49-7min: 10 – 20% eluent B, 7-7.99min: 20 – 50% eluent B, 8-8.99min: 100% eluent B, 8.99-9min: 100 – 0% eluent B, 9-10min: 0% eluent B.  The autosampler temperature was maintained at 25 °C, the injection volume was 1 µL, the eluent flow rate was held at a constant 0.7 mL min-1, and the column was maintained at 55 °C. The fluorescence detector was operated with an excitation wavelength of 266 nm and an emission wavelength of 473 nm.  Typical LC-FD chromatograms of the Murchison A and B samples, the procedural blank, and standards from these runs are shown in Fig. S3 and Fig. S4.

Selected MRM transitions were used for protein amino acid and amine quantifications (Tables S2 and S3). A linear least-square model was fitted to each amino acid and amine in the standard calibration set, and these calibration curves were used to quantify the analytes in the samples. A sample of pure water that was carried through the same preparation and analytical procedures as the meteorites was used as a blank to determine the procedural and laboratory backgrounds. All derivatized extracts were analyzed in triplicate and the average blank-corrected protein amino acid and amine concentrations of the Murchison samples were determined from the standard calibration set and the extracted sample mass.

Analysis of Monocarboxylic Acids, Hydroxy Acids, Aldehydes and Ketones

Standards and Reagents. Standards and reagents were purchased from Sigma Aldrich, Alfa Aesar, and Fisher Scientific and used without further purification, except for 6 M hydrochloric acid (HCl), which was double distilled.  Semi-conductor grade sodium hydroxide (NaOH, 99% purity), HPLC grade dichloromethane (DCM, 99% purity), (±)-2-pentanol (99% purity), (S)-(―)-2-methylbutanol (99% purity), acetyl chloride (98% purity), boron trifluoride diethyl etherate (≥46.5% BF3 basis), O-(2,3,4,5,6-pentafluorobenzyl) hydroxylamine hydrochloride (PFBHA, ≥ 99.0% purity), potassium cyanide (KCN, ≥ 99.0% purity), naphthalene-2,3-dicarboxaldehyde (NDA, ≥ 99.0% purity), and glycine (Gly, ≥ 99.0% purity) were used. Functionalized aminopropyl silica gel was from SiliCycle (SiliaBond®, 40-63 µm particle size) and was cleaned using methanol and DCM rinses followed by drying under vacuum.

Extraction and Derivatization Methods. We extracted 0.501 and 0.502 g of the Murchison A and B samples, respectively, for analyses of aliphatic monocarboxylic acids, hydroxy acids, and aldehydes and ketones (carbonyl compounds). Each powdered sample was extracted with 1 mL of Millipore Milli-Q integral 10 ultrapure water (18.2 MΩ·cm, < 3 ppb total organic carbon) in a flame-sealed glass ampule at 100 °C for 24 hours. After extraction, the residual meteorite solids were rinsed three times using 0.5 mL of water for each rinse; the aqueous supernatant and rinses were combined into one fraction (~ 2.4 mL of each hot-water extract) and split by volume for analyses of aliphatic carboxylic acids (20%), hydroxy acids (40%), and carbonyl compounds (40%). A procedural water blank was carried through an identical extraction procedure as the meteorites.

The portions of the water extract allocated for analysis of carboxylic acids were acidified with 20 µL 2 M NaOH, dried under vacuum, and then derivatized using previously described methods (Aponte et al., 2020b). Briefly, the dry residues were suspended in 50 μL of 6 M HCl, 20 μL of 2-pentanol, 200 μL of DCM, and heated at 100 °C for 15 h in sealed PFTE-lined screw cap vials in a heating block. After cooling to room temperature, the derivatized samples were passed through a plug of aminopropyl silica gel (45 mm length × 5 mm I.D.), rinsed using ~2 mL of DCM three times, dried under flowing nitrogen gas, and dissolved in 100 μL of DCM for gas chromatography mass spectrometry (GC-MS) analysis.

The portions of the water extract allocated for analysis of hydroxy acids were acidified with 40 µL 2 M NaOH, dried under vacuum, and then derivatized using previously described methods (Aponte et al., 2020a). Briefly, 10 µL of (S)-2-methylbutanol, 200 µL of DCM, and 20 µL of BF3 were added and the mixture was heated at 80 °C for 40 min. After cooling to room temperature, 80 µL of acetyl chloride were added to the mixture, which was again heated to 80 °C for 40 min. The reaction mixture was passed through a plug of aminopropyl silica gel (60 mm length × 5 mm I.D.) and rinsed with ~2 mL of DCM three times, then blown dry with nitrogen gas and finally dissolved in 100 µL of DCM prior to injection. The portions of the water extract allocated for analysis of carbonyl compounds were derivatized using PFBHA as previously described (Simkus et al., 2019b). Briefly, 100µL of 2 mg/mL PFBHA was added to the sample aqueous extract. After reaction for 24 hours at room temperature, the solution was quenched with 100 µL of 0.4 M HCl. The PFBHA-derivatives were separated from the aqueous solution using DCM (2 x 2 mL), carried through an acid-wash step (3 mL of 0.4 M HCl), and concentrated for GC-MS analysis.

GC-QqQ-MS Measurements and Quantification Methods. We measured the abundances of carboxylic acids, hydroxy acids, and aldehydes and ketones in the Murchison A and B and procedural blank hot water extracts by gas chromatography coupled to a triple-quadrupole mass spectrometer (GC-QqQ-MS). The individual concentrations (nmol g-1) by bulk sample weight of the carboxylic acids, hydroxy acids, and carbonyl compounds in the Murchison A and B samples were determined from the peak areas generated from the average value of three separate GC-QqQ-MS measurements on the same sample after procedural blank correction and direct comparison to the standard calibration curves. These analyses were performed using a Thermo Trace 13100 GC equipped with a 5 m base-deactivated fused silica guard column (Restek, 0.25 mm ID), two Rxi-5ms (30 m length × 0.25 mm I.D. × 0.5 µm film thickness; capillary columns connected in series using SilTite μ-union connectors, Restek), and coupled to a Thermo TSQ electron-impact triple-quadrupole mass spectrometer (ion source set at 220 °C and 70 eV).

The GC oven program used for the separation and analysis of the monocarboxylic acids was as follows: initial temperature held at 40 °C for 1 min, ramped at 15 °C/min to 110 °C, ramped at 10 °C/min to 140 °C and held for 2 min, ramped at 10 °C/min to 145 °C, and finally ramped at 30 °C/min to 300 °C with a final hold time of 5 min. The GC oven program used for the analyses of hydroxy acids was as follows: initial temperature was 40 °C for 2 min, ramped at 10 °C/min to 100 °C, then ramped at 2 °C/min to 115 °C and held for 8 min, then ramped at 5 °C/min to 130 °C and held for 5 min, then ramped at 10 °C/min to 220 °C, with a final hold time of 20 min. The GC oven program used for the analyses of carbonyl compounds was as follows: initial temperature 40°C, ramped at 10 °C/min to 160 °C, ramped at 5 °C/min to 190 °C, ramped at 10 °C/min to 290 °C and held for 7 min. The carrier gas used was ultrahigh purity grade helium (5.0 grade) with a flow rate of 4.3 mL/min for carboxylic acids, 2.5 mL/min for hydroxy acids, and 2.5 mL/min for carbonyl compounds. Triplicate GC injections of the derivatives were made in split mode (split flow = 5 mL/min) for the carboxylic acids and hydroxy acids, and in splitless mode for carbonyl compounds, in aliquots of 1 µL. Representative GC-QqQ-MS chromatograms of the Murchison A and B samples, the procedural blank, and standards from these analyses are shown below in Fig. S5, Fig. S6. and Fig. S7.  The mass spectra were used to identify and quantify the concentrations of individual compounds by comparison to reference standards and application of calibration curves as described elsewhere (Aponte et al., 2019; Simkus et al., 2019a; Simkus et al., 2019c).

Analysis of Polycyclic Aromatic Hydrocarbons (PAHs)

Standards and Reagents. Standards and reagents were purchased from Restek, Sigma Aldrich, TCI, and VWR and used without further purification.  ACS grade hydrochloric acid (37% HCl), Omnisolv HPLC grade dichloromethane (DCM, 99.9% purity), Omnisolv HPLC grade methanol (MeOH, 99.9% purity), EPA Method 8310 16-component PAH Mixture (Restek 610 PAH Mix), and biphenyl (>99.5% purity) were used. Elemental copper beads from Costech (#B1015M) were cleaned using a pre-extracted 1.0 M HCl solution followed by methanol and DCM rinses.

Extraction Procedure. We extracted 0.5 g aliquots of the Murchison A and B samples. Each powdered sample was sonicated in a sealed tube with 1 mL of DCM:MeOH (9:1) for 30 min at room temperature (bath temperature did not exceed 30 °C). This sonication extraction procedure was repeated twice with a new addition of DCM:MeOH solvent mix replacing each extract.  A procedural blank was carried through an identical extraction procedure as the meteorites. Extracts were treated overnight with cleaned copper to remove sulfur-bearing species.

GC-QqQ-MS Measurements and Quantification Methods. We identified and quantified PAHs in the extracts and procedural blanks by gas chromatography coupled to triple-quadruple mass spectrometry detection (GC-QqQ-MS). The abundances of the PAHs were quantified from the peak areas generated using the average value of three separate GC-QqQ-MS measurements on the same sample. These analyses were performed using a Thermo Trace 1310 GC equipped with a 5 m base-deactivated fused silica guard column (Restek, 0.25 mm ID), two Rxi-5ms (30 m length × 0.25 mm I.D. × 0.5 µm film thickness; capillary columns connected in series using SilTite μ-union connectors, Restek), and coupled to a Thermo TSQ electron-impact triple-quadrupole mass spectrometer (ion source set at 250 °C and 70 eV). The oven program used for these analyses was as follows: initial temperature held at 40 °C for 2 min, then ramped at 10 °C/min to 110 °C, ramped at 10 °C/min to 140 °C and held for 2 min, ramped at 10 °C/min to 300 °C, held for 20 minutes, and then ramped at 15 °C/min to 325 °C with a final hold time of 5 min. The carrier gas used was ultrahigh purity grade helium (5.0 grade) at 2.5 mL/min. Triplicate 1 µL injections were made in splitless mode with an inlet temperature of 250 °C. A representative GC-QqQ-MS chromatogram from the analysis of the Murchison A and B samples, the procedural blank, and standard is shown in Fig. S8. Peaks in the chromatograms were identified by comparison to reference standards and application of calibration curves as described elsewhere (Simkus et al., 2019b; Graham et al., 2022).

Analysis of Alcohols

Standards and Reagents. Standards and reagents were purchased from Sigma Aldrich, Alfa Aesar, Fisher Scientific, and VWR Chemical BDH and used without further purification. HPLC grade dichloromethane (DCM, 99% purity), pyridine (99.8% purity), (S)-(−)-N-(trifluoroacetyl)pyrrolidine-2-carbonyl chloride (S-TPC, 0.1 M in methylene chloride) and magnesium sulfate (≥ 98% purity) were used. Functionalized aminopropyl silica gel was from SiliCycle (SiliaBond®, 40-63 µm particle size) and cleaned using DCM rinses followed by drying under vacuum.

Extraction and Derivatization Procedures. Aliquots of the Murchison A (0.484 g) and Murchison B (0.486 g) samples were transferred into glass ampoules with 2 mL of dichloromethane (DCM). The ampoules were frozen in liquid nitrogen, flame-sealed while frozen, and then heated at 50 °C for 24 h. After the 24 h extraction, the DCM supernatants were collected, the residual meteorite solids were rinsed three times using 0.5 mL of DCM for each rinse, and the DCM supernatant and rinses were combined into one fraction for each sample. These DCM extracts were then filtered through Pasteur pipettes plugged with glass wool to remove any residual meteorite powder and collected in glass conical vials. Dissolved sulfur was removed by adding clean metallic copper beads to the extracts. The solutions were then passed through glass pipettes plugged with 200 mg of MgSO4 to remove water, and then collected in glass conical vials. A procedural water blank was carried through an identical extraction procedure.

The alcohols were derivatized using the reagent (S)-(–)-N-(trifluoroacetyl)pyrrolidine-2-carbonyl chloride (S-TPC) as follows: 1 μL of pyridine and 25 μL of S-TPC were added to each sample, then the solutions were heated  at  90  °C  for  20  minutes.  After heating, the samples were cooled to room temperature, and then passed through glass pipettes plugged with 50 mg of aminopropyl silica gel to remove any excess S-TPC reagent.  The DCM solutions containing the alcohol derivatives were concentrated down to 200 μL volumes under a stream of nitrogen and then analyzed by GC-MS.

GC-QqQ-MS Measurements and Quantification Methods. We quantified the concentrations of alcohols in the samples and procedural blanks by gas chromatography coupled to triple-quadruple mass spectrometry detection (GC-QqQ-MS). The abundances of the derivatized alcohols were quantified from the peak areas generated using the average value of three separate GC-QqQ-MS measurements on the same sample. These analyses were performed using a Thermo Trace 1310 GC equipped with a 5 m base-deactivated fused silica guard column (Restek, 0.25 mm ID), two Rxi-5ms (30 m length × 0.25 mm I.D. × 0.5 µm film thickness; capillary columns connected in series using SilTite μ-union connectors, Restek), and coupled to a Thermo TSQ electron-impact triple-quadrupole mass spectrometer (ion source set at 220 °C and 70 eV). The initial oven temperature was 60 °C and held for 3 min, increased by 20 °C/min up to 200 °C and held for 5 min, and then increased by 20 °C/min up to 330 °C and held for 5 min. The carrier gas used was ultrahigh purity grade helium (5.0 grade) at 2.5 mL/min. Triplicate injections of the derivatives were made in splitless mode in aliquots of 1 μL. A selected ion mass-to-charge ratio (m/z = 166.0) was used to identify and quantify compounds in the samples.  Representative single-ion GC-QqQ-MS chromatograms of the Murchison A and B samples, the procedural blank and a standard are shown in Fig. S9. Procedural blank-corrected concentrations (nmol g-1) for alcohols identified in the Murchison A and B extracts were calculated using the calibration curves for each individual standard.

Analysis of Sugars and N-Heterocycles

Standards and Reagents.  Standards and reagents were purchased from Sigma Aldrich, Wako, Kato Chemical, Tama Chemicals, Tokyo Chemicals Industry Co., Ltd., Fluorochem Ltd., Combi-Blocks, Apollo Scientific Ltd., Toronto Research Chemicals, Alfa Aesar, and Apollo Scientific and used without further purification. Ultrapure water was prepared using the Millipore Milli-Q Integral system (18.2 MΩ·cm, < 5 ppb total organic carbon). Hydrochloric acid (20%; TAMAPURE-AA-10; Tama Chemicals) and purified water were used for the sample extractions. AG 50W-X8 cation exchange resin (Bio-Rad), methanol (> 99.8% purity; 5000 grade; Wako), the purified water, sodium hydroxide (Ultrapur; Kanto Chemical), and ammonia solution (20%, TAMAPURE-AA-100; Tama Chemicals) were used for sample purification and cation exchange.  Hydroxylammonium chloride (Guaranteed Reagent; Wako), pyridine (> 99.5%; Infinity Pure; Wako), acetic anhydride (> 99.0; TCI), dichloromethane (> 99.5%; Infinity Pure; Wako), and hydrochloric acid (20%; TAMAPURE-AA-10; Tama Chemicals) were used for derivatization of the sugars. Hexane (>96.0%; Infinity Pure; Wako) and ethyl acetate (> 99.8%; Infinity Pure; Wako) were used as sample solvents for the GC-MS analyses. D-ribose (> 99.0%; Wako), D-lyxose (> 98.0%; TCI), D-arabinose (Special grade; Wako), and D-xylose (Special grade; Wako) were used as standards for identification and quantification.

For the N-heterocycle measurements, Quadrupole Time of Flight Mass Spectrometry (Q-ToF-MS) grade ultrapure water and acetonitrile (CH3CN, 99.9+% purity), and LC-MS grade formic acid (HCOOH, 99.5+% purity) were used for HPLC analyses. Uracil (Wako special grade), thymine (99% purity), 1-methyluracil (99% purity), 4-amino-5-hydroxypyrimidine (95.0% purity), 4-amino-6-hydroxypyrimidine (97% purity), 5-ethyluracil (≥ 98.0% purity), 5,6-dimethyluracil (≥ 99.0% purity), adenine (99% purity), guanine (Wako special grade), xanthine (Wako special grade), xanthine (Wako 1st grade), purine (98% purity), isoguanine (98% purity), 2,6-diaminopurine (≥ 98% purity), 4-imidazolecarboxylic acid (≥98.0% purity), 2-imidazolecarboxylic acid (≥ 98.0% purity), nicotinamide (≥ 99.0% purity), nicotinamide (98% purity), isonicotinamide (99% purity), nicotinic acid (≥ 98% purity), 1-methyl-1H-imidazole-2-carboxylic acid (no data for purity), 1-methyl-1H-imidazole-2-carboxylic acid (98% purity), 4-methyl-1H-imidazole-5-carboxylic acid (96% purity), 5-methylnicotinamide (97% purity), 2-methylnicotinic acid (97% purity), 4-methylnicotinic acid (97% purity), 5-methylnicotinic acid (97.0% purity), and 6-methylnicotinic acid (≥98.0% purity) were used.

Extraction and Purification Procedures.  Aliquots of the Murchison A (0.952 g) and Murchison B (1.014 g) powders were transferred to separate glass test tubes each containing 20 mL of 2% HCl and sonicated at room temperature for 15 min.  A crushed serpentine sample (~1 g) that was heated at 500ºC in air overnight was carried through the identical extraction steps as the Murchison samples in parallel as a procedural blank. After the sonication step, the test tubes were placed in a centrifuge set at 2000 rpm for 30 min and the HCl supernatants were transferred to a glass flask.  This extraction procedure was repeated with 2% HCl four times, followed by two additional sonication extractions using ultrapure water. The combined 2% HCl and water extracts were then dried in the flasks by rotary evaporation at < 35 ºC. Then, the precipitates were extracted in 50 mL methanol and dried at ambient temperature in separate flasks to remove inorganic salts (Furukawa et al., 2019; Oba et al., 2019). The methanol extracts were then purified to remove cations with ion exchange chromatography using AG50W-X8 resin packed columns as previously described (Takano et al., 2010), and polyols (sugars), uracil and thymine (pyrimidine nucleobases) were eluted with water. A large portion of the water eluate (~90%) from the Murchison A and B extracts was allocated for derivatization and analysis of pentose sugars using GC-MS. Most of the N-heterocycles were eluted from the cation exchange columns using three bed volumes of a 10% (w/v) ammonia solution in water. The ammonium hydroxide eluates were dried under vacuum, dissolved in ultrapure water, and filtered using a 0.20 μm PTFE cartridge filter.

Derivatization and GC-MS Analysis and Quantification of Sugars. The water eluates from the Murchison A and B extracts and the serpentine blank were dried at room temperature using a vacuum centrifuge. Sugars in the dried residues were derivatized to aldononitrile acetates as previously described (Furukawa et al., 2019). The purified derivatives were dried under N2 flow, re-dissolved in a hexane/ethyl acetate solvent mixture, and then analyzed using an Agilent 5977B GC-MS instrument equipped with a GESTEL PTV injector. The sample injection (1 µL) was conducted with a solvent-vent mode with the PTV injector set at an initial temperature of 50 °C, equilibrium time for 1 min, followed by a 12 °C/s ramp up to 300 °C. Separation of the sugar derivatives was achieved with a DB-17ms fused silica column (60 m, 0.25 μm thick, 0.25 mm ID) under a constant He carrier gas flow of 0.8 mL/min. The GC oven temperature was programed as follows: initial temperature of 50 °C for 2 min, ramp at 15 °C/min up to 120 °C (hold 5 min), 4 °C/min ramp up to 160 °C, 3 °C/min ramp to 195 °C (hold 15 min), and 3 °C/min ramp up to 240 °C (hold 10 min). Identification of the sugar derivatives in the extracts was done by comparison of the GC retention time and mass fragmentation spectra to authentic standards and quantifications of the pentose sugar abundances was made by peak integration of the characteristic aldononitrile tetraacetate sugar derivative fragments at m/z 103, 115 or 145 as previously described (Furukawa et al., 2019).  The single-ion (m/z 115) GC-MS chromatograms from the Murchison A and B samples, a serpentine blank, and a standard are shown in Fig. S10. The serpentine procedural blank corrected abundances (nmol g-1) of pentoses in the Murchison A and B extracts were determined from the peak areas in the chromatograms using a standard calibration curve.

HPLC-Orbitrap-MS Analysis and Quantification of N-heterocycles. Separation and quantification of the purified N-heterocycles in the desalted extracts was achieved by HPLC with ESI Orbitrap MS using an Ultimate 3000 and Q-Exactive Plus. Purine nucleobases were chromatographically resolved using an InertSustain PFP separation column (1.0 × 250 mm, particle size 3 μm), which was maintained at a constant temperature of 40 ºC throughout the analyses. Other N-heterocyclic molecules including pyrimidine nucleobases were chromatographically resolved using a HyperCarb separation column (2.1 × 150 mm, particle size 5 μm), which was also maintained at 40 ºC. The eluent program for the HPLC setup with the PFP column was as follows: at t = 0 to 5 min, solvent A (water), solvent B (acetonitrile + 0.1% formic acid) = 90:10, followed by a linear gradient of A:B = 50:50 in 20 min and maintained at this ratio for 25 min. The flow rate was set to 50 μL/min. The eluent program for the HPLC setup with the HyperCarb was as follows: solvent A (water + 0.1% formic acid) and solvent B (acetonitrile + 0.1% formic acid) = 99:1 at t = 0 min, followed by a linear gradient of A:B = 70:30 in 20 min and maintained at this ratio for 20 min. The flow rate was set to 200 μL/min.

The mass spectra were recorded in the positive ESI mode with an m/z range of 60.5 – 400 (full scan) or 111 – 154 (targeted) and a spray voltage of 3.5 kV. Sheath and auxiliary gases for desolvation of the electrospray were both nitrogen and set to 25 and 5 (arbitrary units), respectively. The mass resolution was 140,000 at a m/z of 200. We confirmed the MS response linearity over a dynamic range of substrate concentrations on the order of part per trillion (ppt) to part per million (ppm) scales. The capillary temperature of the ion transfer was 300 °C. The injected samples were vaporized at 280 °C. Peak identification confirmation was achieved by accurate mass using a match tolerance of better than 5 ppm (usually 3 ppm). MS/MS experiments were performed using a hybrid quadrupole-Orbitrap mass spectrometer (Q-Exactive Plus) with HPLC and ionization conditions identical to those used for the full-scan analyses. The extracted positive ion m/z (for example, for thymine, m/z = 127.05 ± 0.2) was reacted with high-energy collision N2 gas to produce fragmented ions, and the mass range of m/z 50 –160 was monitored using an Orbitrap MS with a mass resolution of ~140,000. The high-resolution mass chromatograms from the N-heterocycles analyses of the Murchison A and B samples, the serpentine blank, and standards are shown below in Fig. S11 and Fig. S12.  The serpentine procedural blank corrected N-heterocycle concentrations in the Murchison A and B extracts were determined by comparison of the peak areas of each standard reagent with known concentrations to the peak areas at a similar retention time detected in the mass chromatograms of the meteorite extracts as previously described (Oba et al., 2022).

Nontargeted Chemical Profiling of Soluble Organic Matter

Standards and Reagents. Standards and reagents were purchased from Sigma Aldrich and Merck. HPLC grade dichloromethane (DCM, 99.9% purity), HPLC grade hexane (Hexane, 98.0% purity), LC-MS grade methanol (MeOH, 99.9% purity), and reagent grade L-arginine (Arg, >98.0% purity) were used. Ultrapure water was prepared using the Millipore Milli-Q Integral system (18.2 MΩ·cm, < 5 ppb total organic carbon).

Extraction and Purification Procedures.  Approximately 40 mg portions of the Murchison A and Murchison B samples were extracted, respectively, using the same stepwise extraction procedure for nontargeted chemical profiling of C-, H-, O-, N-, and S-bearing soluble organic molecules using Fourier Transform Ion Cyclotron Resonance-Mass Spectrometry (FTICR-MS). The sequential extraction was performed using solvents of increasing polarity (hexane, dichloromethane, methanol, water). Prior to the extractions, the agate mortar as well as the corresponding agate pillar were thoroughly cleaned with MeOH. Each sample was first washed with 1 mL hexane. For the first extraction step, the washed samples were crushed in an agate mortar in 1 mL hexane. The particle free extracts obtained with hexane and dichloromethane were transferred to separate clean glass vials and allowed to evaporate to dryness. The suspension in methanol and water was transferred into a glass vial and sonicated at room temperature for 5 min and centrifuged at 12,000 rpm for 5 min. Afterwards, the supernatant was removed from the Murchison sample with a glass pipette. The Murchison pellet was then blown dry with nitrogen gas before repeating the extraction procedure with DCM, MeOH and ultrapure water, accordingly.

FTICR-MS Analysis and Data Processing. The ESI source (Apollo II, Bruker Daltonics) was used in both negative- and positive-ion modes at a flow rate of 120 μL/h. The APPI source (APPI II, Bruker) was used to perform the acquisition in positive detection mode using a ﬂow rate of 500 µL/h. The pressure of the nebulizer gas was kept at 20 psi (138 kPa) and drying gas pressure 15 psi (103 kPa) at 200 °C (Agilent sprayer). Spectra were first externally calibrated on clusters of arginine (1 mg/L in methanol), and internal calibration was systematically performed with fatty acids present reaching accuracy values lower than 0.05 ppm in routine day-to-day measurements. The FTICR-MS spectra were acquired with a time domain of 4 megawords over a mass range of 92 to 1,500 m/z with a peak resolution >300,000 at m/z 400 and reaching 600,000 at m/z 250. Up to 2,000 scans were accumulated for each sample in negative mode and 500 scans in positive mode.

The raw FTICR-MS data were preprocessed in Compass DataAnalysis 5.3 (Bruker Daltonics, Bremen, Germany). The internal calibration of the acquired spectra was performed with a reference mass list of known compounds (fatty acids). Fourier transform ion cyclotron resonance (FTICR) spectra with m/z from 140 to 1,000 were exported to peak lists at a signal-to-noise ratio (S/N) of 3 and higher. Elemental formulae were calculated for each peak in batch mode using the in-house–written NetCalc software tool (Tziotis et al., 2011). In conjunction with an automated theoretical isotope pattern comparison, the generated formulae were validated by setting sensible chemical constraints (N rule; O/C ratio ≤ 2.0; H/C ratio ≤ 2.5; AI ≤ 0.65) and mass accuracy window of ± 0.2. C, H, N, O, S, Na and Cl elements were used for assignments. Final formulae were generated and classified as groups containing CH, CHN, CHS, CHO, CHNO, CHOS, or CHNOS. [M+Cl]- and [M+Na]+ adducts were removed from the lists. Based on these groups of m/z ratios, specific mass spectra could be reconstructed.

Results from the ESI(+)-FTICR-MS Measurements. Analysis with ESI(+)-FTICR-MS enables the detection of additional and specific CHNO and CHN compounds such as amines, amides or pyridines which are susceptible to being protonated and therefore detected in positive ion-mode. Analyzing methanolic extracts from Murchison A and B with ESI(+)-FTICR-MS revealed 2943 features for Murchison A and 3025 features for Murchison B. About 60% of these annotated features were classified as CHNO and about 20% as CHN, respectively. Analogous to the results achieved with ESI(−)-FTICR-MS, Van Krevelen diagrams visualize the similarity between both samples (Fig. S13a). Furthermore, the carbon oxidation state (Fig. S13b) as well as the distributions for sulfur and nitrogen in CHOS and CHNO (Fig. S13c) were highly similar between Murchison A and B.

Results from the APPI(+)-FTICR-MS Analyses. APPI(+)-FTICR-MS provides valuable information about pure hydrocarbon species like polycyclic aromatic and aliphatic hydrocarbons, as well as unsaturated heteroatom compounds. These low-polarity compounds are not detectable by ESI, making APPI a more suitable method for ionizing them. Analyzing methanolic extracts from Murchison A and B with APPI(+)-FTICR-MS revealed 3472 features for Murchison A and 3466 features for Murchison B. Plotting Van Krevelen diagrams, the similarity between Murchison A and B is shown (Fig. S14a). In addition, the frequency of oxygen in CHO, CHNO and CHOS (Fig. S14b) as well as the distributions for sulfur and nitrogen in CHOS and CHNO (Fig. S14c) were highly similar in both meteorite samples.

Comparison of the ESI(–)-FTICR-MS Results from all Solvent Extracts. Van Krevelen diagrams illustrating the chemical spaces of the CHO, CHNO, CHOS and CHNOS-species in the solvent extracts of Murchison as measured by ESI(–)-FTICR-MS show very similar patterns, distributions, and total annotated molecular formulae within the individual hexane, DCM, MeOH and water extracts of the Murchison A and B samples (Fig. S15).

REFERENCES

Aponte J. C., Woodward H. K., Abreu N. M., Elsila J. E., and Dworkin J. P. 2019. Molecular distribution, C-13-isotope, and enantiomeric compositions of carbonaceous chondrite monocarboxylic acids. Meteoritics & Planetary Science 54:415-430.

Furukawa Y., Chikaraishi Y., Ohkouchi N., Ogawa N. O., Glavin D. P., Dworkin J. P., Abe C., and Nakamura T. 2019. Extraterrestrial ribose and other sugars in primitive meteorites. Proceedings of the National Academy of Sciences of the United States of America 116:24440-24445.

Graham H. V., Elsila J. E., Dworkin J. P., Sandford S. A., and Aponte J. C. 2022. Deuterium isotope fractionation of polycyclic aromatic hydrocarbons in meteorites as an indicator of interstellar/protosolar processing history. Life-Basel 12:1368.

Oba Y., Takano Y., Furukawa Y., Koga T., Glavin D. P., Dworkin J. P., and Naraoka H. 2022. Identifying the wide diversity of extraterrestrial purine and pyrimidine nucleobases in carbonaceous meteorites. Nature Communications 13:2008.

Oba Y., Takano Y., Naraoka H., Watanabe N., and Kouchi A. 2019. Nucleobase synthesis in interstellar ices. Nature Communications 10:4413.

Simkus D. N., Aponte J. C., Elsila J. E., Hilts R. W., McLain H. L., and Herd C. D. K. 2019a. New insights into the heterogeneity of the Tagish Lake meteorite: Soluble organic compositions of variously altered specimens. Meteoritics & Planetary Science 54:1283-1302.

Simkus D. N., Aponte J. C., Elsila J. E., Parker E. T., Glavin D. P., and Dworkin J. P. 2019b. Methodologies for analyzing soluble organic compounds in extraterrestrial samples: Amino Acids, amines, monocarboxylic acids, aldehydes, and ketones. Life-Basel 9:47.

Simkus D. N., Aponte J. C., Hilts R. W., Elsila J. E., and Herd C. D. K. 2019c. Compound-specific carbon isotope compositions of aldehydes and ketones in the Murchison meteorite. Meteoritics & Planetary Science 54:142-156.

Sing K. 2001. The use of nitrogen adsorption for the characterisation of porous materials. Colloids and Surfaces a-Physicochemical and Engineering Aspects 187:3-9.

Takano Y., Kashiyama Y., Ogawa N. O., Chikaraishi Y., and Ohkouchi N. 2010. Isolation and desalting with cation-exchange chromatography for compound-specific nitrogen isotope analysis of amino acids: application to biogeochemical samples. Rapid Communications in Mass Spectrometry 24:2317-2323.

Tziotis D., Hertkorn N., and Schmitt-Kopplin P. 2011. Kendrick-analogous network visualisation of ion cyclotron resonance Fourier transform mass spectra: improved options for the assignment of elemental compositions and the classification of organic molecular complexity. European Journal of Mass Spectrometry 17:415-421.

Vinogradoff V., Remusat L., McLain H. L., Aponte J. C., Bernard S., Danger G., Dworkin J. P., Elsila J. E., and Jaber M. 2020. Impact of Phyllosilicates on Amino Acid Formation under Asteroidal Conditions. Acs Earth and Space Chemistry 4:1398-1407.

FIGURES AND CAPTIONS

X-ray Computed Tomography (XCT) Videos

Figure S1. Video (.mp4 file entitled "MurchisonB_XCT_TIFF_Stack_Video”) generated from the continuous series of reconstructed 2D CT slices for the Murchison B sample. The white scale bar shown at the bottom right is 2 mm.

Figure S2.  3D volume rendering video (.mp4 file entitled "MurchisonB_3D_XCT_video") generated from the Murchison B sample reconstructed CT slices using Dragonfly™ volume rendering software. The black scale bar shown at the bottom right is 5 mm.

Fig. S3.  The 20 to 45 min. region of the LC-FD chromatograms (no protein amino acid peaks were observed outside of this retention time range). AccQ·Tag derivatization (10 min) of amino acids in the standard and of the room temperature water extracts after sonication for 1 h of the Murchison A and B samples and the procedural blank. Peaks were identified in the samples by comparison of the UV fluorescence retention time and multiple reaction monitoring (MRM) mass transitions as shown in Table S2 to those in the standards analyzed on the same day and are designated by peak number as follows: 1) histidine; 2) asparagine; 3) glutamine; 4) serine; 5) arginine; 6) glycine; 7) aspartic acid; 8) glutamic acid; 9) threonine; 10) alanine; 11) proline; 12) cysteine; 13) tyrosine; 14) lysine; 15) methionine; 16) valine; 17) leucine; 18) isoleucine; 19) phenylalanine; and 20) tryptophan. All derivatized amino acids were observed in the fluorescence trace except for tyrosine and tryptophan (indicated by asterisks) which were only identified in the standard by mass.  Peaks in the chromatograms that are not numbered in the standard are non-protein amino acids which were not quantified as part of this study.

Fig. S4.  The 1.5 to 9.0 min region of the LC-FD chromatograms (no significant peaks were observed outside of this retention time range). AccQ·Tag derivatization (10 min) of amines in the standard and of the room temperature water extracts after sonication for 1 h of the Murchison A and B samples and the procedural blank. Peaks were identified in the samples by comparison of the UV fluorescence retention time and multiple reaction monitoring mass (MRM) transitions as shown in Table S3 to those in the standard analyzed on the same day and are designated by peak numbers as follows: 1) methylamine; 2) ethylamine; 3) isopropylamine; 4) propylamine; 5) sec-butylamine; 6) isobutylamine; 7) n-butylamine; 8) tert-butylamine; 9) 3-aminopentane; 10) 2-amino-3-methylbutane; 11) sec-pentylamine; 12) 2-methylbutylamine; 13) tert-pentylamine; 14) isopentylamine; 15) pentylamine; and 16) hexylamine.

Fig. S5. Positive electron-impact GC-QqQ-MS chromatograms of the 5.6 to 16.0 min. regions (m/z = 70 ± 0.5) of derivatized carboxylic acids from the hot water extracts of Murchison A and B and the procedural blank, and commercially available standards. Peaks were identified by comparison to the retention times and mass spectra in the samples to the standards analyzed on the same day and are designated by peak number as follows: 1) formic acid; 2) acetic acid; 3) propanoic acid; 4) isobutyric acid; 5) 2,2-dimethylpropanoic acid; 6) butyric acid; 7) 2-methylbutyric acid; 8) isopentanoic acid; 9) 2,2-dimethylbutyric acid; 10) 3,3-dimethylbutyric acid; 11, pentanoic acid; 12) 2-ethylbutyric acid and 2-methylpentanoic acid; 13) 3-methylpentanoic; 14) 4-methylpentanoic acid; 15) hexanoic acid; 16) benzoic acid; 17) malonic acid; 18) succinic acid; 19) fumaric acid; 20; glutaric acid; B) derivatization reaction byproduct; and U) unidentified derivative.

Fig. S6. Positive electron-impact GC-QqQ-MS chromatograms of the 17 to 23 min. regions (m/z = 101+115) of derivatized hydroxy acids from hot water extracts of Murchison A and B and the procedural blank, and commercially available standards. Peaks were identified by comparison to the retention times and mass spectra in the samples to those in the standards analyzed on the same day and are designated by peak number as follows: 1) 2-hydroxyisobutyric acid; 2) (S)-lactic acid; 3) (R)-2-lactic acid; 4) glycolic acid; 5) (S,R)-2-hydroxybutyric acid; 6) (S)-2-hydroxy-2-methylbutyric acid; 7) (R)-2-hydroxy-2-methylbutyric acid; B) derivatization reaction byproduct; and U) unidentified derivative.

Fig. S7. Single-ion GC-MS chromatograms of the 9 to 19 min regions (m/z = 181.0 ± 0.5) of derivatized carbonyl compounds from hot water extracts of Murchison A and B and the procedural blank, and commercially available aldehyde and ketone standards. For the aldehydes and ketones that have asymmetrical chemical structures, the derivatization reaction yields two chromatographic peaks ((E)- and (Z)-isomers). The two Murchison chromatograms and the procedural blank chromatogram are on the same intensity scale. Peaks were identified by comparison to the retention times and mass spectra in the samples to those in the standards analyzed on the same day and are designated by peak number as follows: 1) formaldehyde; 2) (E)-acetaldehyde; 3) (Z)-acetaldehyde; 4) acetone; 5) (E)-propionaldehyde; 6) (Z)-propionaldehyde; 7) (E)-2-butanone; 8) (Z)-2-butanone; 9) (E)-butyraldehyde; 10) (Z)-butyraldehyde; 11) (E)-2-pentanone; 12) (Z)-2-petanone; 13) (E)-2-hexanone; 14) (Z)-2-hexanone; 15) (E)-benzaldehyde; and 16) (Z)-benzaldehyde. The upper end of Peak R, which represents unreacted PFBHA derivatization reagent, was not included in the figure to focus on the smaller peaks corresponding to derivatized aldehydes and ketones.

Fig. S8. Positive electron-impact total ion current GC-QqQ-MS chromatograms of the 20 to 30 min regions of PAHs from 9:1 DCM:MeOH extracts of Murchison A and B and the procedural blank, and commercially available standards. Peaks were identified in the samples by comparison to the retention times and mass spectra to those in the standard analyzed on the same day and are designated by peak number as follows: 1) acenaphthene; 2) phenanthrene; 3) fluoranthene; and 4) pyrene.

Fig. S9. Single-ion GC-QqQ-MS chromatograms of the 11 to 18 min regions (m/z = 166.0 ± 0.5) of S-TPC derivatized alcohols in the DCM extracts of Murchison A and B and the procedural blank, and commercially available standards. The two Murchison chromatograms and the procedural blank chromatogram are on the same intensity scale. The intensity of the trace for compounds eluting after 14.5 min in the Murchison samples and procedural blank was magnified by a factor of 20 to improve the clarity of the smaller peaks. Peaks were identified in the samples by comparison to the retention times and mass spectra to those in the standards analyzed on the same day and are designated by peak number as follows: 1) methanol; 2) ethanol; 3) isopropanol; 4) tert-butanol; 5) n-propanol; 6) (R)-(-)-2-butanol; 7) (S)-(+)-2-butanol; 8) n-butanol; 9) (R)-(-)-3-methyl-2-butanol; 10) (S)-(+)-3-methyl-2-butanol; 11) (R)-(-)-2-pentanol; 12) (S)-(+)-2-pentanol; 13) 3-pentanol; 14) 3-methyl-1-butanol; 15) n-pentanol; 16) 4-methyl-1-pentanol; 17) 3-methyl-1-pentanol; and 18) n-hexanol. The peaks labeled R represent unreacted S-TPC derivatization reagent.

Fig. S10. The 35 to 43 min region of the single ion (m/z = 115) chromatograms from the GC-MS analyses of pentose derivatives in the water and 2% HCl extracts of Murchison A and B samples and serpentine blanks, and a standard.  Peaks in the samples were identified by comparison of the retention times and mass spectra to those in the standard analyzed on the same day and are designated by peak number as follows: 1) ribose; 2) lyxose; 3) arabinose; and 4) xylose.

Fig. S11. High resolution mass chromatograms of nitrogen heterocycles in the Murchison A and B and serpentine blank extracts, as well as standards at the mass to charge (m/z) ratios corresponding to: (a) uracil; (b) thymine; (c) monoamino-monohydroxypyrimidine; (d) ethyluracil; (e) adenine; (f) hypoxanthine; and (g) guanine; and (h) xanthine. Peaks were identified in the samples by comparison of the retention time and molecular mass to those in standards analyzed on the same day and are designated by peak number as follows: 1) uracil; 2) 1-methyluracil; 3) thymine; 4) 4-amino-5-hydroxypyrimidine; 5) 4-amino-6-hydroxypyrimidine; 6) 5,6-dimethyluracil; 7) 5-ethyluracil; 8) adenine; 9) hypoxanthine; 10) guanine; 11) isoguanine; and 12) xanthine.

Fig. S12. High resolution mass chromatograms of nitrogen heterocycles in the Murchison A and B and serpentine blank extracts, as well as standards at the mass to charge (m/z) ratios corresponding to: (i) purine; (j) diaminopurine; (k) imidazolecarboxylic acid; (l) nicotinamide; (m) nicotinic acid; (n) monomethyl-imidazole carboxylic acid; (o) methylnicotinamide; and (p) methylnicotinic acid. Peaks were identified in the samples by comparison of the retention time and molecular mass to those in standards analyzed on the same day and are designated by peak number as follows: 13) purine; 14) 2,6-diaminopurine; 15) 4-imidazolecarboxylic acid; 16) 2-imidazolecarboxylic acid; 17) nicotinamide; 18) picolinamide; 19) isonicotinic acid; 20) nicotinic acid; 21) 1-methyl-1H-imidazole-5-carboxylic acid; 22) 1-methyl-1H-imidazole-2-carboxylic acid; 23) 4-methyl-1H-imidazole-5-carboxylic acid; 24) 5-methylnicotinamide; 25) 2-methylnicotninic acid; 26) 4-methylnicotinic acid; 27) 6-methylnicotinic acid; and 28) 5-methylnicotinic acid.

Fig. S13. Nontargeted screenings of Murchison A and B MeOH extracts analyzed with ESI(+)-FTICR-MS. (a) Van Krevelen diagrams of annotated molecular formulae classified as CH, CHN, CHS, CHO, CHNO, CHOS, or CHNOS. Neutral molecular formulae are plotted. The bubble size indicates the mean relative intensities of corresponding peaks in the spectra. The donut plot shows the distribution of all chemical spaces and total annotated molecular formulae. (b) Oxygen frequency in CHO, CHOS and CHNO. (c) Sulfur and nitrogen frequency in CHOS and CHNO, respectively.

Fig. S14. Nontargeted screenings of Murchison A and B MeOH extracts analyzed with APPI(+)-FTICR-MS. (a) Van Krevelen diagrams of annotated molecular formulae classified as CH, CHN, CHS, CHO, CHNO, CHOS, or CHNOS. Neutral molecular formulae are plotted. The bubble size indicates the mean relative intensities of corresponding peaks in the spectra. The donut plot shows the distribution over all chemical spaces and total annotated molecular formulae. (b) Oxygen frequency in CHO, CHOS and CHNO. (c) Sulfur and nitrogen frequency in CHOS and CHNO, respectively.

Fig. S15. Comparison of the chemical spaces in the hexane, DCM, MeOH and water extracts of Murchison A and B analyzed with ESI(−)-FTICR-MS. Van Krevelen diagrams of annotated molecular formulae classified as CHO, CHNO, CHOS, or CHNOS. Neutral molecular formulae are also plotted. The bubble size indicates the mean relative intensities of corresponding peaks in the spectra. The donut plot shows the distribution over all chemical spaces and total annotated molecular formulae.

TABLES S1-S3

Table S1. Summary of the results from the specific surface area (m2/g) measurements of the Murchison A and B residue pairs calculated from the slopes of the linear fits of the 5 pt. BET isotherms and sample masses after solvent extraction of the protein amino acids and amines, PAHs, and alcohols.

| Sample Run # | Sample Mass (g) | Slope | Intercept | Correlation Coefficient, r | Specific Surface Area (m2/g)* |
| --- | --- | --- | --- | --- | --- |
| Residues (Protein Amino Acid & Amine Extracts) |  |  |  |  |  |
| A1 | 0.4795 | 161.881 | 2.685 | 0.999975 | 21.162 |
| A2 |  | 159.758 | 2.392 | 0.999979 | 21.477 |
| A3 |  | 155.003 | 2.263 | 0.999976 | 22.144 |
|  |  |  |  |  | A = 21.59 ± 0.29 (avg.) |
| B1 | 0.4615 | 153.959 | 2.211 | 0.999928 | 22.299 |
| B2 |  | 151.589 | 2.070 | 0.999958 | 22.664 |
| B3 |  | 146.239 | 2.058 | 0.999976 | 23.483 |
|  |  |  |  |  | B = 22.82 ± 0.35 (avg.) |
| Residues (PAH Extracts) |  |  |  |  |  |
| A1 | 0.0858 | 156.306 | 2.755 | 0.999957 | 21.894 |
| A2 |  | 153.306 | 2.249 | 0.999964 | 22.388 |
| A3 |  | 149.701 | 2.281 | 0.999975 | 22.914 |
|  |  |  |  |  | A = 22.40 ± 0.29 (avg.) |
| B1 | 0.2349 | 151.379 | 2.069 | 0.999963 | 22.695 |
| B2 |  | 149.284 | 2.006 | 0.999965 | 22.929 |
| B3 |  | 147.602 | 2.048 | 0.999957 | 23.271 |
|  |  |  |  |  | B = 23.00 ± 0.17 (avg.) |
| Residues (Alcohol Extracts) |  |  |  |  |  |
| A1 | 0.3698 | 256.336 | 4.616 | 0.999987 | 13.345 |
| A2 |  | 254.398 | 4.448 | 0.999968 | 13.454 |
| A3 |  | 252.117 | 4.763 | 0.999983 | 13.557 |
|  |  |  |  |  | A = 13.45 ± 0.06 (avg.) |
| B1 | 0.4419 | 379.371 | 5.465 | 0.999806 | 8.645 |
| B2 |  | 360.709 | 5.562 | 0.999992 | 9.508 |
| B3 |  | 352.202 | 6.122 | 0.999985 | 9.719 |
|  |  |  |  |  | B = 9.29 ± 0.33 (avg.) |

*The reported uncertainties (dx) in the average specific surface area measurements are based on the standard deviation of the average value of three separate measurements (n) with a standard error dx = sx · (n)–1/2.

Table S2. Multiple Reaction Monitoring (MRM) parameters used for the LC-QqQ-MS peak quantifications of the AccQ·Tag derivatives of the 20 standard protein amino acids.

| Peak # | Analyte Name | Precursor Ion (m/z) | Cone Voltage | Product Ion | Collision Energy (eV) | Retention Time (min) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Histidine | 326.1 | 15 | 171.1 | 15 | 23.32 |
|  |  |  | 10 | 145.1 | 15 |  |
|  |  |  | 15 | 156.1 | 10 |  |
| 2 | Asparagine | 303.1 | 50 | 171.1 | 20 | 23.66 |
|  |  |  | 34 | 133.1 | 30 |  |
|  |  |  | 34 | 144.1 | 20 |  |
| 3 | Glutamine | 317.1 | 30 | 171.1 | 10 | 24.85 |
|  |  |  | 34 | 145.1 | 20 |  |
|  |  |  | 34 | 130.1 | 20 |  |
| 4 | Serine | 276.1 | 40 | 171.1 | 20 | 26.19 |
|  |  |  | 40 | 116.1 | 50 |  |
|  |  |  | 40 | 89.1 | 68 |  |
| 5 | Arginine | 345.1 | 8 | 171.1 | 26 | 27.19 |
|  |  |  | 8 | 175.1 | 16 |  |
|  |  |  | 8 | 70.1 | 46 |  |
| 6 | Glycine | 246.1 | 48 | 171.1 | 18 | 27.56 |
|  |  |  | 48 | 116.1 | 42 |  |
|  |  |  | 48 | 89.1 | 62 |  |
| 7 | Aspartic Acid | 304.1 | 40 | 171.1 | 25 | 29.08 |
|  |  |  | 40 | 116.1 | 55 |  |
|  |  |  | 40 | 128.1 | 50 |  |
| 8 | Glutamic Acid | 318.1 | 98 | 171.1 | 38 | 30.55 |
|  |  |  | 98 | 116.1 | 68 |  |
|  |  |  | 98 | 89.1 | 80 |  |
| 9 | Threonine | 290.1 | 46 | 171.1 | 16 | 31.82 |
|  |  |  | 46 | 116.1 | 50 |  |
|  |  |  | 46 | 89.1 | 78 |  |
| 10 | Alanine | 260.1 | 34 | 171.1 | 20 | 33.4 |
|  |  |  | 34 | 116.1 | 54 |  |
|  |  |  | 34 | 89.1 | 64 |  |
| 11 | Proline | 286.1 | 2 | 171.1 | 16 | 35.16 |
|  |  |  | 2 | 116.1 | 54 |  |
|  |  |  | 2 | 89.1 | 76 |  |
| 12 | Cysteine | 581.1 | 28 | 171.1 | 30 | 37.08 |
|  |  |  | 28 | 116.1 | 50 |  |
|  |  |  | 30 | 145.1 | 40 |  |
| 13 | Tyrosine | 352.1 | 8 | 171.1 | 20 | 38.43 |
|  |  |  | 8 | 116.1 | 62 |  |
|  |  |  | 8 | 89.1 | 70 |  |
| 14 | Lysine | 487.1 | 24 | 171.1 | 32 | 38.75 |
|  |  |  | 24 | 145.1 | 22 |  |
|  |  |  | 24 | 84.1 | 46 |  |
| 15 | Methionine | 320.1 | 8 | 171.1 | 20 | 39.18 |
|  |  |  | 8 | 116.1 | 62 |  |
|  |  |  | 8 | 89.1 | 80 |  |
| 16 | Valine | 288.1 | 26 | 171.1 | 18 | 39.41 |
|  |  |  | 26 | 116.1 | 56 |  |
|  |  |  | 26 | 89.1 | 72 |  |
| 17 | Leucine | 302.1 | 50 | 171.1 | 22 | 42.56 |
|  |  |  | 50 | 116.1 | 56 |  |
|  |  |  | 50 | 89.1 | 74 |  |
| 18 | Isoleucine | 302.1 | 46 | 171.1 | 18 | 43.21 |
|  |  |  | 46 | 116.1 | 58 |  |
|  |  |  | 35 | 145.1 | 30 |  |
| 19 | Phenylalanine | 336.1 | 8 | 171.1 | 22 | 44.02 |
|  |  |  | 8 | 116.1 | 64 |  |
|  |  |  | 8 | 89.1 | 78 |  |
| 20 | Tryptophan | 375.1 | 10 | 171.1 | 20 | 44.44 |
|  |  |  | 20 | 145.1 | 64 |  |

Table S3.  Multiple Reaction Monitoring (MRM) parameters used for the LC-QqQ-MS peak quantifications of the AccQ·Tag derivatives of the amines.

| Peak # | Analyte Name | Precursor Ion (m/z) | Cone Voltage | Product Ion | Collision Energy (eV) | Retention Time (min) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Methylamine | 202.1 | 30 | 171.22 | 15 | 1.86 |
|  |  |  | 30 | 145.06 | 20 |  |
|  |  |  | 30 | 128.23 | 50 |  |
| 2 | Ethylamine | 216.1 | 30 | 171.15 | 15 | 2.56 |
|  |  |  | 30 | 145.06 | 20 |  |
|  |  |  | 30 | 59.57 | 50 |  |
| 3 | Isopropylamine | 230.1 | 30 | 171.15 | 15 | 3.47 |
|  |  |  | 30 | 145.1 | 20 |  |
|  |  |  | 30 | 60.1 | 50 |  |
| 4 | Propylamine | 230.1 | 30 | 171.15 | 15 | 3.56 |
|  |  |  | 30 | 145.1 | 20 |  |
|  |  |  | 30 | 60.1 | 50 |  |
| 5 | sec-Butylamine | 244.1 | 30 | 171.1 | 15 | 4.28 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 74.1 | 50 |  |
| 6 | Isobutylamine | 244.1 | 30 | 171.1 | 15 | 4.78 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 74.1 | 50 |  |
| 7 | n-Butylamine | 244.1 | 30 | 171.1 | 15 | 5.00 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 74.1 | 50 |  |
| 8 | tert-Butylamine | 244.1 | 30 | 171.1 | 15 | 5.08 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 74.1 | 50 |  |
| 9 | 3-Aminopentane | 258.1 | 30 | 171.15 | 15 | 5.88 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 10 | 2-Amino-3-methylbutane | 258.1 | 30 | 171.15 | 15 | 6.00 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 11 | sec-Pentylamine | 258.1 | 30 | 171.15 | 15 | 6.38 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 12 | 2-Methylbutylamine | 258.1 | 30 | 171.15 | 15 | 6.55 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 13 | tert-Pentylamine | 258.1 | 30 | 171.15 | 15 | 6.55 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 14 | Isopentylamine | 258.1 | 30 | 171.15 | 15 | 6.71 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 15 | n-Pentylamine | 258.1 | 30 | 171.15 | 15 | 7.01 |
|  |  |  | 30 | 145.13 | 20 |  |
|  |  |  | 30 | 87.83 | 40 |  |
| 16 | Hexylamine | 272.1 | 30 | 171.2 | 20 | 8.32 |
|  |  |  | 30 | 187.23 | 15 |  |
|  |  |  | 30 | 103.06 | 35 |  |

APPENDIX

List of chemical structures and names of representative molecules from each soluble organic compound class studied in this investigation.