## Slide 1: iROSA Computational Model Development and Integration for the International Space Station
Steven Korn
NASA Glenn Research Center
Space Power Workshop 2024

## Slide 2: iROSA Installation

## Slide 3: Task for SPACE-ISS Team
Our team models the EPS of the ISS using SPACE.
Therefore, we needed to develop and integrate the iROSA into our model.
  Building up iROSA power calculations
  Developing new shadowing methodologies
  Integrating the changes into our model
  Evaluate the completed model ahead of flight

## Slide 4: New Cells and Layout
Different Solar Cell IV Curve
Different Degradation Rates
Different Temperature Coefficients
Different Harnessing Resistances
Different Number of Cells per String
Different Solar Absorptance and Emittance
Different Solar Cell Size

## Slide 5: Different Thermal Model
Traditional Node Design
iROSA Node Design

## Slide 6: New Shadowing Algorithms
25 bypass diodes along panel
82 panels per blanket
18 cells along width
256 cells along length
32 panels along blanket
Legacy Blanket:
25 bypass diodes per panel
82 panels per blanket
iROSA Blanket:
18 x 256 bypass diodes per blanket
Legacy
iROSA

## Slide 7: String Mapping
iROSA strings replace Legacy strings nearest the base of the array
Need to map via the shunt order
See 2019 SPW presentation

## Slide 8: Calculating Power Correctly
Is string Legacy or iROSA?
Is the string failed?
Full Sun
Shunt Order
No Sun
Partial sun
IV Curve Magic

## Slide 9: Calculating Power Correctly
Legacy
Legacy
Legacy
Legacy
Legacy
Legacy
iROSA
iROSA
iROSA
iROSA
iROSA
iROSA
Power Requested
Everything left is shunted
Shunt Order

## Slide 10: Model Checkout - Fun Bugs
0K is not OK
Negative power while in the Sun
iROSA Temperatures below Absolute Zero
Cant in the wrong direction (some of them)
I don’t feel like it today
Stick it where the Sun don’t shine?

## Slide 11: Model Checkout - Most Fun Bug
iROSA shadow patterns
Watch here
View of ISS as if you were looking from the Sun
Shadow patterns on Legacy Solar Arrays
Timeline through insolation

## Slide 12: Gains in Power Generation
Power Gain from Initial iROSA: Nominally 5-7 kW Best case 7-9 kW
First iROSA (Jun 2021)
Second iROSA (Jun 2021)
Shunting Begins
Shunting Begins
Shunting Begins
Shunting Begins
Power Gain
Power Gain

## Slide 13: Restoring Lost Circuitry (kinda)
Some of the legacy string failures went away
iROSA silhouette
Base
Tip
10 Failed strings remain after the iROSA install
12 Failed strings are now unplugged due to iROSA install
See 2019 SPW presentation

## Slide 14: Opportunity for Even More Power
An off-pointed array lets some light around the side of iROSA onto legacy strings.
Could we unplug the 10 failed strings near the tip and wire in different legacy strings to get some additional power?
Yes. It requires more rewiring on EVA, but could give a bit more power.
iROSA silhouette
Base
Tip
10 Failed strings remain after the iROSA install
12 Failed strings are now unplugged due to iROSA install
Wire in these 10 strings

## Slide 15: Thank You
Ann Delleur / NASA GRC
Sarah Tipler / NASA GRC
Brandon Klefman / NASA GRC
Jeff Hojnicki / NASA GRC
Stuart Wodzro / NASA GRC (former)
Caroline Austin / NASA GRC (former)
David Mckissock / NASA GRC (ret.)
David Hoffman / NASA GRC (ret.)
Tom Kerslake / NASA GRC (ret.)
Conference Organizers